## Taulukot
Time | Brine Out | Brine In | Compressor Out | Compressor In | Heat Return | Heat In | Expansion Out | Expansion In
Aika | Keruulle | Keruulta | Kuumakaasu | Imukaasu | Ennen lauhd | Jälkeen lauhd | Jälkeen pais.vent. | Ennen pais.ventt. | Keruu DT | Lauhd DT | Aika | KV ('C) | KV teho (kW)
16:41 | 13.75 | 15.06 | 27.62 | 25.44 | 27.37 | 31.06 | 17.25 | 21.94 | 1.31 | 3.69 | 17:02 | 25
16:42 | 11.63 | 13.13 | 38.06 | 24.75 | 23.31 | 23.56 | -5.13 | 20.94 | 1.5 | 0.25 | 17:13 | 30 | 4.7727
16:43 | 10.25 | 11.88 | 57.63 | 21.87 | 20.81 | 21.12 | -19.56 | 19.69 | 1.63 | 0.31 | 17:26 | 35 | 4.0385
16:44 | 9.38 | 11.06 | 70.37 | 19 | 19.44 | 20.5 | -21.31 | 19.31 | 1.68 | 1.06 | 17:39 | 40 | 4.0385
16:45 | 8.81 | 10.56 | 78.12 | 16.87 | 18.94 | 20.56 | -21.25 | 19.37 | 1.75 | 1.62 | 17:53 | 45 | 3.75
16:46 | 8.5 | 10.25 | 83.06 | 15.25 | 18.87 | 20.94 | -21.06 | 19.69 | 1.75 | 2.07 | 18:07 | 50 | 3.75
16:47 | 8.31 | 10.06 | 86.5 | 14.13 | 19 | 21.37 | -20.87 | 20 | 1.75 | 2.37
16:48 | 8.13 | 9.94 | 88.87 | 13.31 | 19.19 | 21.81 | -20.69 | 20.44 | 1.81 | 2.62
16:49 | 8 | 9.81 | 90.75 | 12.81 | 19.44 | 22.25 | -20.56 | 20.81 | 1.81 | 2.81
16:50 | 7.94 | 9.81 | 92.19 | 12.5 | 19.75 | 22.62 | -20.37 | 21.12 | 1.87 | 2.87
16:51 | 7.88 | 9.75 | 93.44 | 12.25 | 20.06 | 23 | -20.25 | 21.5 | 1.87 | 2.94
16:52 | 7.88 | 9.75 | 94.44 | 12.13 | 20.37 | 23.44 | -20.06 | 21.87 | 1.87 | 3.07
16:53 | 7.81 | 9.69 | 95.37 | 12 | 20.69 | 23.75 | -19.87 | 22.19 | 1.88 | 3.06
16:54 | 7.81 | 9.69 | 96.12 | 11.94 | 21 | 24.12 | -19.75 | 22.5 | 1.88 | 3.12
16:55 | 7.81 | 9.69 | 96.87 | 11.88 | 21.31 | 24.5 | -19.62 | 22.87 | 1.88 | 3.19
16:56 | 7.81 | 9.69 | 97.56 | 11.88 | 21.62 | 24.87 | -19.44 | 23.25 | 1.88 | 3.25
16:57 | 7.81 | 9.75 | 98.19 | 11.88 | 21.94 | 25.25 | -19.37 | 23.56 | 1.94 | 3.31
16:58 | 7.88 | 9.75 | 98.81 | 11.88 | 22.19 | 25.56 | -19.19 | 23.87 | 1.87 | 3.37
16:59 | 7.94 | 9.81 | 99.44 | 11.88 | 22.5 | 26 | -19 | 24.25 | 1.87 | 3.5
17:00 | 7.94 | 9.81 | 100 | 11.94 | 22.81 | 26.37 | -18.87 | 24.56 | 1.87 | 3.56
17:01 | 7.94 | 9.75 | 100.44 | 11.94 | 23.12 | 26.75 | -18.75 | 24.94 | 1.81 | 3.63
17:02 | 7.88 | 9.69 | 100.94 | 11.94 | 23.44 | 27.06 | -18.62 | 25.25 | 1.81 | 3.62
17:03 | 7.81 | 9.69 | 101.44 | 11.88 | 23.75 | 27.44 | -18.56 | 25.56 | 1.88 | 3.69
17:04 | 7.81 | 9.56 | 101.87 | 11.81 | 24 | 27.75 | -18.37 | 25.94 | 1.75 | 3.75
17:05 | 7.81 | 9.56 | 102.37 | 11.81 | 24.31 | 28.06 | -18.25 | 26.25 | 1.75 | 3.75
17:06 | 7.81 | 9.56 | 102.81 | 11.75 | 24.56 | 28.31 | -18.12 | 26.56 | 1.75 | 3.75
17:07 | 7.81 | 9.56 | 103.25 | 11.75 | 24.87 | 28.69 | -18.06 | 26.94 | 1.75 | 3.82
17:08 | 7.81 | 9.5 | 103.75 | 11.75 | 24.87 | 29 | -17.94 | 27.25 | 1.69 | 4.13
17:09 | 7.81 | 9.44 | 104.19 | 11.69 | 25.12 | 29.31 | -17.87 | 27.56 | 1.63 | 4.19
17:10 | 7.81 | 9.44 | 104.69 | 11.63 | 25.44 | 29.75 | -17.75 | 27.87 | 1.63 | 4.31
17:11 | 7.81 | 9.44 | 105.12 | 11.63 | 25.87 | 30.12 | -17.69 | 28.19 | 1.63 | 4.25
17:12 | 7.81 | 9.44 | 105.62 | 11.63 | 26.25 | 30.44 | -17.5 | 28.56 | 1.63 | 4.19
17:13 | 7.81 | 9.38 | 106.12 | 11.63 | 26.56 | 30.75 | -17.44 | 28.81 | 1.57 | 4.19
17:14 | 7.81 | 9.38 | 106.56 | 11.63 | 26.87 | 31.12 | -17.31 | 29.19 | 1.57 | 4.25
17:15 | 7.88 | 9.44 | 107.06 | 11.63 | 27.19 | 31.5 | -17.19 | 29.5 | 1.56 | 4.31
17:16 | 7.88 | 9.44 | 107.5 | 11.63 | 27.5 | 31.81 | -17.12 | 29.81 | 1.56 | 4.31
17:17 | 7.88 | 9.38 | 107.94 | 11.69 | 27.75 | 32.13 | -17 | 30.12 | 1.5 | 4.38
17:18 | 7.94 | 9.38 | 108.37 | 11.63 | 28.06 | 32.5 | -16.87 | 30.44 | 1.44 | 4.44
17:19 | 7.94 | 9.44 | 108.81 | 11.69 | 28.31 | 32.81 | -16.75 | 30.75 | 1.5 | 4.5
17:20 | 8 | 9.44 | 109.25 | 11.69 | 28.56 | 33.13 | -16.62 | 31.06 | 1.44 | 4.57
17:21 | 8 | 9.38 | 109.69 | 11.69 | 28.87 | 33.44 | -16.5 | 31.37 | 1.38 | 4.57
17:22 | 8 | 9.44 | 110.12 | 11.69 | 29.12 | 33.81 | -16.37 | 31.69 | 1.44 | 4.69
17:23 | 8.06 | 9.38 | 110.5 | 11.69 | 29.31 | 34 | -16.25 | 32 | 1.32 | 4.69
17:24 | 8.06 | 9.44 | 110.94 | 11.75 | 29.56 | 34.25 | -16.06 | 32.31 | 1.38 | 4.69
17:25 | 8.06 | 9.5 | 111.31 | 11.75 | 29.75 | 34.63 | -15.88 | 32.69 | 1.44 | 4.88
17:26 | 8.06 | 9.5 | 111.75 | 11.75 | 30 | 35 | -15.44 | 33 | 1.44 | 5
17:27 | 8.13 | 9.5 | 112.19 | 11.81 | 30.25 | 35.31 | -13.13 | 33.25 | 1.37 | 5.06
17:28 | 8.13 | 9.5 | 112.56 | 11.75 | 30.44 | 35.56 | -10.94 | 33.56 | 1.37 | 5.12
17:29 | 8.13 | 9.5 | 112.94 | 11.81 | 30.69 | 35.81 | -9.63 | 33.88 | 1.37 | 5.12
17:30 | 8.19 | 9.5 | 113.25 | 11.75 | 30.94 | 36.13 | -8.38 | 34.19 | 1.31 | 5.19
17:31 | 8.19 | 9.56 | 113.62 | 11.75 | 31.25 | 36.44 | -7.25 | 34.5 | 1.37 | 5.19
17:32 | 8.25 | 9.56 | 113.87 | 11.75 | 31.56 | 36.69 | -6.44 | 34.75 | 1.31 | 5.13
17:33 | 8.25 | 9.5 | 114.19 | 11.75 | 31.75 | 37.13 | -5.56 | 35.06 | 1.25 | 5.38
17:34 | 8.31 | 9.5 | 114.44 | 11.75 | 32 | 37.38 | -4.75 | 35.31 | 1.19 | 5.38
17:35 | 8.25 | 9.5 | 114.69 | 11.75 | 32.25 | 37.69 | -4.25 | 35.56 | 1.25 | 5.44
17:36 | 8.31 | 9.5 | 114.87 | 11.75 | 32.5 | 38.06 | -3.63 | 35.81 | 1.19 | 5.56
17:37 | 8.31 | 9.5 | 115.12 | 11.81 | 32.75 | 38.44 | -3 | 36.13 | 1.19 | 5.69
17:38 | 8.31 | 9.5 | 115.37 | 11.81 | 33 | 38.69 | -2.63 | 36.31 | 1.19 | 5.69
17:39 | 8.38 | 9.5 | 115.5 | 11.75 | 33.25 | 39 | -2.25 | 36.56 | 1.12 | 5.75
17:40 | 8.38 | 9.5 | 115.69 | 11.81 | 33.5 | 39.38 | -1.88 | 36.88 | 1.12 | 5.88
17:41 | 8.38 | 9.5 | 115.87 | 11.81 | 33.75 | 39.75 | -1.44 | 37.19 | 1.12 | 6
17:42 | 8.38 | 9.5 | 116 | 11.81 | 33.94 | 40.06 | -1.12 | 37.56 | 1.12 | 6.12
17:43 | 8.38 | 9.5 | 116.19 | 11.81 | 34.19 | 40.38 | -0.81 | 37.88 | 1.12 | 6.19
17:44 | 8.38 | 9.5 | 116.31 | 11.88 | 34.56 | 40.81 | -0.5 | 38.19 | 1.12 | 6.25
17:45 | 8.44 | 9.5 | 116.37 | 11.88 | 34.81 | 41.19 | -0.19 | 38.56 | 1.06 | 6.38
17:46 | 8.44 | 9.5 | 116.5 | 11.88 | 35.06 | 41.5 | 0.25 | 38.88 | 1.06 | 6.44
17:47 | 8.44 | 9.5 | 116.31 | 11.88 | 35.31 | 41.88 | 1.44 | 39.13 | 1.06 | 6.57
17:48 | 8.5 | 9.56 | 113.87 | 11.88 | 35.56 | 42.25 | 4.25 | 39.5 | 1.06 | 6.69
17:49 | 8.5 | 9.5 | 112.06 | 11.88 | 35.88 | 42.63 | 5.06 | 39.81 | 1 | 6.75
17:50 | 8.56 | 9.56 | 110.81 | 11.88 | 36.06 | 42.94 | 5.63 | 40.19 | 1 | 6.88
17:51 | 8.56 | 9.56 | 109.94 | 11.88 | 36.38 | 43.25 | 6.13 | 40.5 | 1 | 6.87
17:52 | 8.56 | 9.56 | 109.44 | 11.88 | 36.63 | 43.5 | 6.56 | 40.81 | 1 | 6.87
17:53 | 8.63 | 9.56 | 109.06 | 11.88 | 36.88 | 43.75 | 6.94 | 41.13 | 0.93 | 6.87
17:54 | 8.63 | 9.56 | 108.75 | 11.88 | 37.06 | 44 | 7.38 | 41.44 | 0.93 | 6.94
17:55 | 8.63 | 9.56 | 108.56 | 11.81 | 36.88 | 44.19 | 7.75 | 41.75 | 0.93 | 7.31
17:56 | 8.63 | 9.56 | 108.44 | 11.81 | 36.88 | 44.44 | 8.19 | 42 | 0.93 | 7.56
17:57 | 8.63 | 9.56 | 108.31 | 11.75 | 37.25 | 44.44 | 8.63 | 42.25 | 0.93 | 7.19
17:58 | 8.63 | 9.56 | 108.31 | 11.81 | 37.69 | 44.5 | 9 | 42.56 | 0.93 | 6.81
17:59 | 8.63 | 9.56 | 108.31 | 11.75 | 38.06 | 44.69 | 9.38 | 42.88 | 0.93 | 6.63
18:00 | 8.63 | 9.56 | 108.31 | 11.81 | 38.44 | 45 | 9.75 | 43.19 | 0.93 | 6.56
18:01 | 8.69 | 9.63 | 108.31 | 11.81 | 38.69 | 45.63 | 10.13 | 43.5 | 0.94 | 6.94
18:02 | 8.69 | 9.56 | 108.37 | 11.81 | 38.94 | 46.13 | 10.56 | 43.81 | 0.87 | 7.19
18:03 | 8.69 | 9.63 | 108.37 | 11.88 | 39.13 | 46.5 | 10.94 | 44.06 | 0.94 | 7.37
18:04 | 8.69 | 9.63 | 108.44 | 11.88 | 39.38 | 46.75 | 11.31 | 44.38 | 0.94 | 7.37
18:05 | 8.75 | 9.69 | 108.5 | 11.88 | 39.56 | 47.06 | 11.69 | 44.63 | 0.94 | 7.5
18:06 | 8.75 | 9.63 | 108.5 | 11.88 | 39.81 | 47.44 | 12.13 | 44.94 | 0.88 | 7.63
18:07 | 8.75 | 9.63 | 108.56 | 11.88 | 40.06 | 47.75 | 12.44 | 45.19 | 0.88 | 7.69
18:08 | 8.5 | 9.63 | 105.94 | 11.88 | 34.88 | 40.75 | -11.38 | 36.56 | 1.13 | 5.87
18:09 | 8.31 | 9.69 | 104.94 | 11.81 | 30.81 | 33.69 | -17.25 | 32.19 | 1.38 | 2.88
18:10 | 8.25 | 9.69 | 105.5 | 11.81 | 29.25 | 32.25 | -17.5 | 31.19 | 1.44 | 3
18:11 | 8.25 | 9.63 | 106.37 | 11.81 | 28.75 | 32.13 | -17.31 | 30.87 | 1.38 | 3.38
18:12 | 8.25 | 9.63 | 107.06 | 11.81 | 28.5 | 32.25 | -17.25 | 30.75 | 1.38 | 3.75
18:13 | 8.25 | 9.63 | 107.69 | 11.81 | 28.5 | 32.38 | -17.12 | 30.81 | 1.38 | 3.88
18:14 | 8.25 | 9.69 | 108.31 | 11.81 | 28.56 | 32.5 | -17 | 30.94 | 1.44 | 3.94
18:15 | 8.25 | 9.69 | 108.87 | 11.88 | 28.56 | 32.69 | -16.81 | 31.12 | 1.44 | 4.13
18:16 | 8.25 | 9.69 | 109.31 | 11.81 | 28.56 | 32.94 | -16.75 | 31.31 | 1.44 | 4.38
18:17 | 8.25 | 9.69 | 109.75 | 11.81 | 28.56 | 33.25 | -16.56 | 31.56 | 1.44 | 4.69
18:18 | 8.31 | 9.69 | 110.19 | 11.81 | 28.69 | 33.44 | -16.44 | 31.75 | 1.38 | 4.75
18:19 | 8.25 | 9.69 | 110.62 | 11.81 | 28.81 | 33.75 | -16.31 | 32 | 1.44 | 4.94
18:20 | 8.25 | 9.69 | 111 | 11.75 | 28.94 | 34 | -16.25 | 32.19 | 1.44 | 5.06
18:21 | 8.31 | 9.69 | 111.31 | 11.75 | 29.25 | 34.25 | -16.06 | 32.5 | 1.38 | 5
18:22 | 8.31 | 9.69 | 111.69 | 11.75 | 29.62 | 34.5 | -15.75 | 32.75 | 1.38 | 4.88
18:23 | 8.31 | 9.63 | 112.06 | 11.81 | 29.94 | 34.88 | -14.81 | 33 | 1.32 | 4.94
18:24 | 8.38 | 9.63 | 112.37 | 11.81 | 30.25 | 35.19 | -12.44 | 33.25 | 1.25 | 4.94
18:25 | 8.38 | 9.63 | 112.75 | 11.81 | 30.5 | 35.44 | -10.63 | 33.5 | 1.25 | 4.94
18:26 | 8.38 | 9.56 | 113.06 | 11.81 | 30.75 | 35.69 | -9.75 | 33.75 | 1.18 | 4.94
18:27 | 8.38 | 9.56 | 113.44 | 11.81 | 30.94 | 36 | -8.63 | 34.06 | 1.18 | 5.06
18:28 | 8.31 | 9.56 | 113.69 | 11.81 | 31.12 | 36.25 | -8 | 34.25 | 1.25 | 5.13
18:29 | 8.38 | 9.56 | 113.94 | 11.81 | 31.31 | 36.44 | -7.31 | 34.5 | 1.18 | 5.13
18:30 | 8.38 | 9.56 | 114.12 | 11.81 | 31.5 | 36.63 | -6.5 | 34.69 | 1.18 | 5.13
18:31 | 8.38 | 9.56 | 114.31 | 11.81 | 31.62 | 36.81 | -6.06 | 34.88 | 1.18 | 5.19
18:32 | 8.31 | 9.5 | 114.5 | 11.81 | 31.81 | 37.06 | -5.5 | 35.06 | 1.19 | 5.25
18:33 | 8.31 | 9.5 | 114.69 | 11.81 | 31.94 | 37.38 | -4.88 | 35.25 | 1.19 | 5.44
18:34 | 8.38 | 9.5 | 114.81 | 11.81 | 32.06 | 37.63 | -5 | 35.38 | 1.12 | 5.57
18:35 | 8.38 | 9.5 | 115 | 11.75 | 32.31 | 37.81 | -4.13 | 35.63 | 1.12 | 5.5
18:36 | 8.38 | 9.5 | 115.19 | 11.81 | 32.56 | 38.13 | -3.5 | 35.88 | 1.12 | 5.57
18:37 | 8.38 | 9.5 | 115.37 | 11.81 | 32.75 | 38.44 | -3.19 | 36.06 | 1.12 | 5.69
18:38 | 8.38 | 9.5 | 115.5 | 11.75 | 32.88 | 38.63 | -3 | 36.25 | 1.12 | 5.75
18:39 | 8.38 | 9.5 | 115.62 | 11.75 | 33.06 | 38.81 | -2.75 | 36.44 | 1.12 | 5.75
18:40 | 8.38 | 9.5 | 115.75 | 11.81 | 33.25 | 39 | -2.44 | 36.63 | 1.12 | 5.75
18:41 | 8.38 | 9.5 | 115.87 | 11.81 | 33.38 | 39.19 | -2.31 | 36.81 | 1.12 | 5.81
18:42 | 8.38 | 9.56 | 115.94 | 11.81 | 33.44 | 39.31 | -2.13 | 36.94 | 1.18 | 5.87
18:43 | 8.44 | 9.56 | 116 | 11.81 | 33.38 | 39.5 | -2 | 37.13 | 1.12 | 6.12
18:44 | 8.44 | 9.56 | 116.12 | 11.81 | 33.5 | 39.69 | -1.69 | 37.38 | 1.12 | 6.19
18:45 | 8.44 | 9.56 | 116.19 | 11.81 | 33.81 | 39.69 | -1.25 | 37.69 | 1.12 | 5.88
18:46 | 8.44 | 9.56 | 116.31 | 11.81 | 34.06 | 39.69 | -1.19 | 37.81 | 1.12 | 5.63
18:47 | 8.44 | 9.56 | 115.62 | 11.88 | 34.38 | 39.94 | 0.25 | 38.06 | 1.12 | 5.56
18:48 | 8.5 | 9.63 | 113.25 | 11.88 | 34.56 | 40.5 | 2.63 | 38.31 | 1.13 | 5.94
18:49 | 8.5 | 9.63 | 111.5 | 11.88 | 34.69 | 40.81 | 2.94 | 38.38 | 1.13 | 6.12
18:50 | 8.5 | 9.63 | 110.31 | 11.88 | 34.88 | 40.69 | 3.56 | 38.69 | 1.13 | 5.81
18:51 | 8.5 | 9.63 | 109.56 | 11.88 | 35.06 | 40.88 | 4 | 38.94 | 1.13 | 5.82
18:52 | 8.56 | 9.69 | 109 | 11.88 | 35.25 | 41.06 | 4.25 | 39.13 | 1.13 | 5.81
18:53 | 8.56 | 9.69 | 108.56 | 11.88 | 35.44 | 41.25 | 4.56 | 39.38 | 1.13 | 5.81
18:54 | 8.56 | 9.69 | 108.25 | 11.88 | 35.56 | 41.56 | 4.88 | 39.63 | 1.13 | 6
18:55 | 8.63 | 9.69 | 108.06 | 11.88 | 35.75 | 41.81 | 5.06 | 39.81 | 1.06 | 6.06
18:56 | 8.63 | 9.69 | 107.94 | 11.88 | 35.94 | 42.06 | 5.31 | 40 | 1.06 | 6.12
18:57 | 8.63 | 9.69 | 107.81 | 11.88 | 36.06 | 42.31 | 5.44 | 40.13 | 1.06 | 6.25
18:58 | 8.63 | 9.69 | 107.75 | 11.88 | 36.13 | 42.44 | 5.69 | 40.25 | 1.06 | 6.31
18:59 | 8.63 | 9.69 | 107.75 | 11.88 | 36.31 | 42.75 | 6.13 | 40.5 | 1.06 | 6.44
19:00 | 8.69 | 9.69 | 107.69 | 11.88 | 36.38 | 43 | 6.25 | 40.69 | 1 | 6.62
19:01 | 8.69 | 9.69 | 107.62 | 11.88 | 36.56 | 43.19 | 6.5 | 40.81 | 1 | 6.63
19:02 | 8.69 | 9.69 | 107.62 | 11.88 | 36.69 | 43.31 | 6.63 | 41 | 1 | 6.62
19:03 | 8.69 | 9.75 | 107.62 | 11.94 | 36.75 | 43.44 | 6.69 | 41.13 | 1.06 | 6.69
19:04 | 8.69 | 9.75 | 107.62 | 11.94 | 36.88 | 43.63 | 7.13 | 41.31 | 1.06 | 6.75
19:05 | 8.69 | 9.75 | 107.69 | 11.94 | 37.06 | 43.88 | 7.38 | 41.5 | 1.06 | 6.82
19:06 | 8.75 | 9.75 | 107.62 | 11.94 | 37.19 | 44 | 7.44 | 41.69 | 1 | 6.81
19:07 | 8.75 | 9.75 | 107.69 | 11.94 | 37.38 | 44.19 | 7.81 | 41.88 | 1 | 6.81
19:08 | 8.75 | 9.75 | 107.62 | 11.94 | 37.38 | 44.25 | 7.88 | 41.94 | 1 | 6.87
19:09 | 8.75 | 9.75 | 107.69 | 11.94 | 37.5 | 44.5 | 8.19 | 42.19 | 1 | 7
19:10 | 8.75 | 9.75 | 107.69 | 11.94 | 37.63 | 44.5 | 8.19 | 42.25 | 1 | 6.87
19:11 | 8.81 | 9.81 | 107.75 | 12 | 37.75 | 44.38 | 8.63 | 42.44 | 1 | 6.63
19:12 | 8.81 | 9.81 | 107.75 | 11.94 | 37.88 | 44.44 | 8.75 | 42.56 | 1 | 6.56
19:13 | 8.75 | 9.81 | 107.75 | 11.94 | 37.94 | 44.81 | 8.81 | 42.69 | 1.06 | 6.87
19:14 | 8.81 | 9.81 | 107.81 | 12 | 38.06 | 45 | 9.06 | 42.88 | 1 | 6.94
19:15 | 8.81 | 9.81 | 107.87 | 12 | 38.19 | 45.25 | 9.31 | 43 | 1 | 7.06
19:16 | 8.94 | 9.81 | 104.69 | 12.44 | 38.13 | 44.81 | 19.31 | 41.69 | 0.87 | 6.68
19:17 | 8.88 | 9.81 | 93.56 | 13.81 | 38.19 | 44.25 | 21.31 | 39.56 | 0.93 | 6.06

## Raw Log Data
=~=~=~=~=~=~=~=~=~=~=~= | PuTTY | log | 2022-11-15 | 16:41 | =~=~=~=~=~=~=~=~=~=~=~=
Brine_Out: | 13.75C | Brine_In: | 15.06C | Compressor_Out: | 27.62C | Compressor_In: | 25.44C | Heat_Return: | 27.37C | Heat_In: | 31.06C | Expansion_Out: | 17.25C | Expansion_In: | 21.94C
Brine_Out: | 11.63C | Brine_In: | 13.13C | Compressor_Out: | 38.06C | Compressor_In: | 24.75C | Heat_Return: | 23.31C | Heat_In: | 23.56C | Expansion_Out: | -5.13C | Expansion_In: | 20.94C
Brine_Out: | 10.25C | Brine_In: | 11.88C | Compressor_Out: | 57.63C | Compressor_In: | 21.87C | Heat_Return: | 20.81C | Heat_In: | 21.12C | Expansion_Out: | -19.56C | Expansion_In: | 19.69C
Brine_Out: | 9.38C | Brine_In: | 11.06C | Compressor_Out: | 70.37C | Compressor_In: | 19.00C | Heat_Return: | 19.44C | Heat_In: | 20.50C | Expansion_Out: | -21.31C | Expansion_In: | 19.31C
Brine_Out: | 8.81C | Brine_In: | 10.56C | Compressor_Out: | 78.12C | Compressor_In: | 16.87C | Heat_Return: | 18.94C | Heat_In: | 20.56C | Expansion_Out: | -21.25C | Expansion_In: | 19.37C
Brine_Out: | 8.50C | Brine_In: | 10.25C | Compressor_Out: | 83.06C | Compressor_In: | 15.25C | Heat_Return: | 18.87C | Heat_In: | 20.94C | Expansion_Out: | -21.06C | Expansion_In: | 19.69C
Brine_Out: | 8.31C | Brine_In: | 10.06C | Compressor_Out: | 86.50C | Compressor_In: | 14.13C | Heat_Return: | 19.00C | Heat_In: | 21.37C | Expansion_Out: | -20.87C | Expansion_In: | 20.00C
Brine_Out: | 8.13C | Brine_In: | 9.94C | Compressor_Out: | 88.87C | Compressor_In: | 13.31C | Heat_Return: | 19.19C | Heat_In: | 21.81C | Expansion_Out: | -20.69C | Expansion_In: | 20.44C
Brine_Out: | 8.00C | Brine_In: | 9.81C | Compressor_Out: | 90.75C | Compressor_In: | 12.81C | Heat_Return: | 19.44C | Heat_In: | 22.25C | Expansion_Out: | -20.56C | Expansion_In: | 20.81C
Brine_Out: | 7.94C | Brine_In: | 9.81C | Compressor_Out: | 92.19C | Compressor_In: | 12.50C | Heat_Return: | 19.75C | Heat_In: | 22.62C | Expansion_Out: | -20.37C | Expansion_In: | 21.12C
Brine_Out: | 7.88C | Brine_In: | 9.75C | Compressor_Out: | 93.44C | Compressor_In: | 12.25C | Heat_Return: | 20.06C | Heat_In: | 23.00C | Expansion_Out: | -20.25C | Expansion_In: | 21.50C
Brine_Out: | 7.88C | Brine_In: | 9.75C | Compressor_Out: | 94.44C | Compressor_In: | 12.13C | Heat_Return: | 20.37C | Heat_In: | 23.44C | Expansion_Out: | -20.06C | Expansion_In: | 21.87C
Brine_Out: | 7.81C | Brine_In: | 9.69C | Compressor_Out: | 95.37C | Compressor_In: | 12.00C | Heat_Return: | 20.69C | Heat_In: | 23.75C | Expansion_Out: | -19.87C | Expansion_In: | 22.19C
Brine_Out: | 7.81C | Brine_In: | 9.69C | Compressor_Out: | 96.12C | Compressor_In: | 11.94C | Heat_Return: | 21.00C | Heat_In: | 24.12C | Expansion_Out: | -19.75C | Expansion_In: | 22.50C
Brine_Out: | 7.81C | Brine_In: | 9.69C | Compressor_Out: | 96.87C | Compressor_In: | 11.88C | Heat_Return: | 21.31C | Heat_In: | 24.50C | Expansion_Out: | -19.62C | Expansion_In: | 22.87C
Brine_Out: | 7.81C | Brine_In: | 9.69C | Compressor_Out: | 97.56C | Compressor_In: | 11.88C | Heat_Return: | 21.62C | Heat_In: | 24.87C | Expansion_Out: | -19.44C | Expansion_In: | 23.25C
Brine_Out: | 7.81C | Brine_In: | 9.75C | Compressor_Out: | 98.19C | Compressor_In: | 11.88C | Heat_Return: | 21.94C | Heat_In: | 25.25C | Expansion_Out: | -19.37C | Expansion_In: | 23.56C
Brine_Out: | 7.88C | Brine_In: | 9.75C | Compressor_Out: | 98.81C | Compressor_In: | 11.88C | Heat_Return: | 22.19C | Heat_In: | 25.56C | Expansion_Out: | -19.19C | Expansion_In: | 23.87C
Brine_Out: | 7.94C | Brine_In: | 9.81C | Compressor_Out: | 99.44C | Compressor_In: | 11.88C | Heat_Return: | 22.50C | Heat_In: | 26.00C | Expansion_Out: | -19.00C | Expansion_In: | 24.25C
Brine_Out: | 7.94C | Brine_In: | 9.81C | Compressor_Out: | 100.00C | Compressor_In: | 11.94C | Heat_Return: | 22.81C | Heat_In: | 26.37C | Expansion_Out: | -18.87C | Expansion_In: | 24.56C
Brine_Out: | 7.94C | Brine_In: | 9.75C | Compressor_Out: | 100.44C | Compressor_In: | 11.94C | Heat_Return: | 23.12C | Heat_In: | 26.75C | Expansion_Out: | -18.75C | Expansion_In: | 24.94C
Brine_Out: | 7.88C | Brine_In: | 9.69C | Compressor_Out: | 100.94C | Compressor_In: | 11.94C | Heat_Return: | 23.44C | Heat_In: | 27.06C | Expansion_Out: | -18.62C | Expansion_In: | 25.25C
Brine_Out: | 7.81C | Brine_In: | 9.69C | Compressor_Out: | 101.44C | Compressor_In: | 11.88C | Heat_Return: | 23.75C | Heat_In: | 27.44C | Expansion_Out: | -18.56C | Expansion_In: | 25.56C
Brine_Out: | 7.81C | Brine_In: | 9.56C | Compressor_Out: | 101.87C | Compressor_In: | 11.81C | Heat_Return: | 24.00C | Heat_In: | 27.75C | Expansion_Out: | -18.37C | Expansion_In: | 25.94C
Brine_Out: | 7.81C | Brine_In: | 9.56C | Compressor_Out: | 102.37C | Compressor_In: | 11.81C | Heat_Return: | 24.31C | Heat_In: | 28.06C | Expansion_Out: | -18.25C | Expansion_In: | 26.25C
Brine_Out: | 7.81C | Brine_In: | 9.56C | Compressor_Out: | 102.81C | Compressor_In: | 11.75C | Heat_Return: | 24.56C | Heat_In: | 28.31C | Expansion_Out: | -18.12C | Expansion_In: | 26.56C
Brine_Out: | 7.81C | Brine_In: | 9.56C | Compressor_Out: | 103.25C | Compressor_In: | 11.75C | Heat_Return: | 24.87C | Heat_In: | 28.69C | Expansion_Out: | -18.06C | Expansion_In: | 26.94C
Brine_Out: | 7.81C | Brine_In: | 9.50C | Compressor_Out: | 103.75C | Compressor_In: | 11.75C | Heat_Return: | 24.87C | Heat_In: | 29.00C | Expansion_Out: | -17.94C | Expansion_In: | 27.25C
Brine_Out: | 7.81C | Brine_In: | 9.44C | Compressor_Out: | 104.19C | Compressor_In: | 11.69C | Heat_Return: | 25.12C | Heat_In: | 29.31C | Expansion_Out: | -17.87C | Expansion_In: | 27.56C
Brine_Out: | 7.81C | Brine_In: | 9.44C | Compressor_Out: | 104.69C | Compressor_In: | 11.63C | Heat_Return: | 25.44C | Heat_In: | 29.75C | Expansion_Out: | -17.75C | Expansion_In: | 27.87C
Brine_Out: | 7.81C | Brine_In: | 9.44C | Compressor_Out: | 105.12C | Compressor_In: | 11.63C | Heat_Return: | 25.87C | Heat_In: | 30.12C | Expansion_Out: | -17.69C | Expansion_In: | 28.19C
Brine_Out: | 7.81C | Brine_In: | 9.44C | Compressor_Out: | 105.62C | Compressor_In: | 11.63C | Heat_Return: | 26.25C | Heat_In: | 30.44C | Expansion_Out: | -17.50C | Expansion_In: | 28.56C
Brine_Out: | 7.81C | Brine_In: | 9.38C | Compressor_Out: | 106.12C | Compressor_In: | 11.63C | Heat_Return: | 26.56C | Heat_In: | 30.75C | Expansion_Out: | -17.44C | Expansion_In: | 28.81C
Brine_Out: | 7.81C | Brine_In: | 9.38C | Compressor_Out: | 106.56C | Compressor_In: | 11.63C | Heat_Return: | 26.87C | Heat_In: | 31.12C | Expansion_Out: | -17.31C | Expansion_In: | 29.19C
Brine_Out: | 7.88C | Brine_In: | 9.44C | Compressor_Out: | 107.06C | Compressor_In: | 11.63C | Heat_Return: | 27.19C | Heat_In: | 31.50C | Expansion_Out: | -17.19C | Expansion_In: | 29.50C
Brine_Out: | 7.88C | Brine_In: | 9.44C | Compressor_Out: | 107.50C | Compressor_In: | 11.63C | Heat_Return: | 27.50C | Heat_In: | 31.81C | Expansion_Out: | -17.12C | Expansion_In: | 29.81C
Brine_Out: | 7.88C | Brine_In: | 9.38C | Compressor_Out: | 107.94C | Compressor_In: | 11.69C | Heat_Return: | 27.75C | Heat_In: | 32.13C | Expansion_Out: | -17.00C | Expansion_In: | 30.12C
Brine_Out: | 7.94C | Brine_In: | 9.38C | Compressor_Out: | 108.37C | Compressor_In: | 11.63C | Heat_Return: | 28.06C | Heat_In: | 32.50C | Expansion_Out: | -16.87C | Expansion_In: | 30.44C
Brine_Out: | 7.94C | Brine_In: | 9.44C | Compressor_Out: | 108.81C | Compressor_In: | 11.69C | Heat_Return: | 28.31C | Heat_In: | 32.81C | Expansion_Out: | -16.75C | Expansion_In: | 30.75C
Brine_Out: | 8.00C | Brine_In: | 9.44C | Compressor_Out: | 109.25C | Compressor_In: | 11.69C | Heat_Return: | 28.56C | Heat_In: | 33.13C | Expansion_Out: | -16.62C | Expansion_In: | 31.06C
Brine_Out: | 8.00C | Brine_In: | 9.38C | Compressor_Out: | 109.69C | Compressor_In: | 11.69C | Heat_Return: | 28.87C | Heat_In: | 33.44C | Expansion_Out: | -16.50C | Expansion_In: | 31.37C
Brine_Out: | 8.00C | Brine_In: | 9.44C | Compressor_Out: | 110.12C | Compressor_In: | 11.69C | Heat_Return: | 29.12C | Heat_In: | 33.81C | Expansion_Out: | -16.37C | Expansion_In: | 31.69C
Brine_Out: | 8.06C | Brine_In: | 9.38C | Compressor_Out: | 110.50C | Compressor_In: | 11.69C | Heat_Return: | 29.31C | Heat_In: | 34.00C | Expansion_Out: | -16.25C | Expansion_In: | 32.00C
Brine_Out: | 8.06C | Brine_In: | 9.44C | Compressor_Out: | 110.94C | Compressor_In: | 11.75C | Heat_Return: | 29.56C | Heat_In: | 34.25C | Expansion_Out: | -16.06C | Expansion_In: | 32.31C
Brine_Out: | 8.06C | Brine_In: | 9.50C | Compressor_Out: | 111.31C | Compressor_In: | 11.75C | Heat_Return: | 29.75C | Heat_In: | 34.63C | Expansion_Out: | -15.88C | Expansion_In: | 32.69C
Brine_Out: | 8.06C | Brine_In: | 9.50C | Compressor_Out: | 111.75C | Compressor_In: | 11.75C | Heat_Return: | 30.00C | Heat_In: | 35.00C | Expansion_Out: | -15.44C | Expansion_In: | 33.00C
Brine_Out: | 8.13C | Brine_In: | 9.50C | Compressor_Out: | 112.19C | Compressor_In: | 11.81C | Heat_Return: | 30.25C | Heat_In: | 35.31C | Expansion_Out: | -13.13C | Expansion_In: | 33.25C
Brine_Out: | 8.13C | Brine_In: | 9.50C | Compressor_Out: | 112.56C | Compressor_In: | 11.75C | Heat_Return: | 30.44C | Heat_In: | 35.56C | Expansion_Out: | -10.94C | Expansion_In: | 33.56C
Brine_Out: | 8.13C | Brine_In: | 9.50C | Compressor_Out: | 112.94C | Compressor_In: | 11.81C | Heat_Return: | 30.69C | Heat_In: | 35.81C | Expansion_Out: | -9.63C | Expansion_In: | 33.88C
Brine_Out: | 8.19C | Brine_In: | 9.50C | Compressor_Out: | 113.25C | Compressor_In: | 11.75C | Heat_Return: | 30.94C | Heat_In: | 36.13C | Expansion_Out: | -8.38C | Expansion_In: | 34.19C
Brine_Out: | 8.19C | Brine_In: | 9.56C | Compressor_Out: | 113.62C | Compressor_In: | 11.75C | Heat_Return: | 31.25C | Heat_In: | 36.44C | Expansion_Out: | -7.25C | Expansion_In: | 34.50C
Brine_Out: | 8.25C | Brine_In: | 9.56C | Compressor_Out: | 113.87C | Compressor_In: | 11.75C | Heat_Return: | 31.56C | Heat_In: | 36.69C | Expansion_Out: | -6.44C | Expansion_In: | 34.75C
Brine_Out: | 8.25C | Brine_In: | 9.50C | Compressor_Out: | 114.19C | Compressor_In: | 11.75C | Heat_Return: | 31.75C | Heat_In: | 37.13C | Expansion_Out: | -5.56C | Expansion_In: | 35.06C
Brine_Out: | 8.31C | Brine_In: | 9.50C | Compressor_Out: | 114.44C | Compressor_In: | 11.75C | Heat_Return: | 32.00C | Heat_In: | 37.38C | Expansion_Out: | -4.75C | Expansion_In: | 35.31C
Brine_Out: | 8.25C | Brine_In: | 9.50C | Compressor_Out: | 114.69C | Compressor_In: | 11.75C | Heat_Return: | 32.25C | Heat_In: | 37.69C | Expansion_Out: | -4.25C | Expansion_In: | 35.56C
Brine_Out: | 8.31C | Brine_In: | 9.50C | Compressor_Out: | 114.87C | Compressor_In: | 11.75C | Heat_Return: | 32.50C | Heat_In: | 38.06C | Expansion_Out: | -3.63C | Expansion_In: | 35.81C
Brine_Out: | 8.31C | Brine_In: | 9.50C | Compressor_Out: | 115.12C | Compressor_In: | 11.81C | Heat_Return: | 32.75C | Heat_In: | 38.44C | Expansion_Out: | -3.00C | Expansion_In: | 36.13C
Brine_Out: | 8.31C | Brine_In: | 9.50C | Compressor_Out: | 115.37C | Compressor_In: | 11.81C | Heat_Return: | 33.00C | Heat_In: | 38.69C | Expansion_Out: | -2.63C | Expansion_In: | 36.31C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.50C | Compressor_In: | 11.75C | Heat_Return: | 33.25C | Heat_In: | 39.00C | Expansion_Out: | -2.25C | Expansion_In: | 36.56C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.69C | Compressor_In: | 11.81C | Heat_Return: | 33.50C | Heat_In: | 39.38C | Expansion_Out: | -1.88C | Expansion_In: | 36.88C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.87C | Compressor_In: | 11.81C | Heat_Return: | 33.75C | Heat_In: | 39.75C | Expansion_Out: | -1.44C | Expansion_In: | 37.19C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 116.00C | Compressor_In: | 11.81C | Heat_Return: | 33.94C | Heat_In: | 40.06C | Expansion_Out: | -1.12C | Expansion_In: | 37.56C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 116.19C | Compressor_In: | 11.81C | Heat_Return: | 34.19C | Heat_In: | 40.38C | Expansion_Out: | -0.81C | Expansion_In: | 37.88C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 116.31C | Compressor_In: | 11.88C | Heat_Return: | 34.56C | Heat_In: | 40.81C | Expansion_Out: | -0.50C | Expansion_In: | 38.19C
Brine_Out: | 8.44C | Brine_In: | 9.50C | Compressor_Out: | 116.37C | Compressor_In: | 11.88C | Heat_Return: | 34.81C | Heat_In: | 41.19C | Expansion_Out: | -0.19C | Expansion_In: | 38.56C
Brine_Out: | 8.44C | Brine_In: | 9.50C | Compressor_Out: | 116.50C | Compressor_In: | 11.88C | Heat_Return: | 35.06C | Heat_In: | 41.50C | Expansion_Out: | 0.25C | Expansion_In: | 38.88C
Brine_Out: | 8.44C | Brine_In: | 9.50C | Compressor_Out: | 116.31C | Compressor_In: | 11.88C | Heat_Return: | 35.31C | Heat_In: | 41.88C | Expansion_Out: | 1.44C | Expansion_In: | 39.13C
Brine_Out: | 8.50C | Brine_In: | 9.56C | Compressor_Out: | 113.87C | Compressor_In: | 11.88C | Heat_Return: | 35.56C | Heat_In: | 42.25C | Expansion_Out: | 4.25C | Expansion_In: | 39.50C
Brine_Out: | 8.50C | Brine_In: | 9.50C | Compressor_Out: | 112.06C | Compressor_In: | 11.88C | Heat_Return: | 35.88C | Heat_In: | 42.63C | Expansion_Out: | 5.06C | Expansion_In: | 39.81C
Brine_Out: | 8.56C | Brine_In: | 9.56C | Compressor_Out: | 110.81C | Compressor_In: | 11.88C | Heat_Return: | 36.06C | Heat_In: | 42.94C | Expansion_Out: | 5.63C | Expansion_In: | 40.19C
Brine_Out: | 8.56C | Brine_In: | 9.56C | Compressor_Out: | 109.94C | Compressor_In: | 11.88C | Heat_Return: | 36.38C | Heat_In: | 43.25C | Expansion_Out: | 6.13C | Expansion_In: | 40.50C
Brine_Out: | 8.56C | Brine_In: | 9.56C | Compressor_Out: | 109.44C | Compressor_In: | 11.88C | Heat_Return: | 36.63C | Heat_In: | 43.50C | Expansion_Out: | 6.56C | Expansion_In: | 40.81C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 109.06C | Compressor_In: | 11.88C | Heat_Return: | 36.88C | Heat_In: | 43.75C | Expansion_Out: | 6.94C | Expansion_In: | 41.13C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.75C | Compressor_In: | 11.88C | Heat_Return: | 37.06C | Heat_In: | 44.00C | Expansion_Out: | 7.38C | Expansion_In: | 41.44C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.56C | Compressor_In: | 11.81C | Heat_Return: | 36.88C | Heat_In: | 44.19C | Expansion_Out: | 7.75C | Expansion_In: | 41.75C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.44C | Compressor_In: | 11.81C | Heat_Return: | 36.88C | Heat_In: | 44.44C | Expansion_Out: | 8.19C | Expansion_In: | 42.00C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.31C | Compressor_In: | 11.75C | Heat_Return: | 37.25C | Heat_In: | 44.44C | Expansion_Out: | 8.63C | Expansion_In: | 42.25C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.31C | Compressor_In: | 11.81C | Heat_Return: | 37.69C | Heat_In: | 44.50C | Expansion_Out: | 9.00C | Expansion_In: | 42.56C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.31C | Compressor_In: | 11.75C | Heat_Return: | 38.06C | Heat_In: | 44.69C | Expansion_Out: | 9.38C | Expansion_In: | 42.88C
Brine_Out: | 8.63C | Brine_In: | 9.56C | Compressor_Out: | 108.31C | Compressor_In: | 11.81C | Heat_Return: | 38.44C | Heat_In: | 45.00C | Expansion_Out: | 9.75C | Expansion_In: | 43.19C
Brine_Out: | 8.69C | Brine_In: | 9.63C | Compressor_Out: | 108.31C | Compressor_In: | 11.81C | Heat_Return: | 38.69C | Heat_In: | 45.63C | Expansion_Out: | 10.13C | Expansion_In: | 43.50C
Brine_Out: | 8.69C | Brine_In: | 9.56C | Compressor_Out: | 108.37C | Compressor_In: | 11.81C | Heat_Return: | 38.94C | Heat_In: | 46.13C | Expansion_Out: | 10.56C | Expansion_In: | 43.81C
Brine_Out: | 8.69C | Brine_In: | 9.63C | Compressor_Out: | 108.37C | Compressor_In: | 11.88C | Heat_Return: | 39.13C | Heat_In: | 46.50C | Expansion_Out: | 10.94C | Expansion_In: | 44.06C
Brine_Out: | 8.69C | Brine_In: | 9.63C | Compressor_Out: | 108.44C | Compressor_In: | 11.88C | Heat_Return: | 39.38C | Heat_In: | 46.75C | Expansion_Out: | 11.31C | Expansion_In: | 44.38C
Brine_Out: | 8.75C | Brine_In: | 9.69C | Compressor_Out: | 108.50C | Compressor_In: | 11.88C | Heat_Return: | 39.56C | Heat_In: | 47.06C | Expansion_Out: | 11.69C | Expansion_In: | 44.63C
Brine_Out: | 8.75C | Brine_In: | 9.63C | Compressor_Out: | 108.50C | Compressor_In: | 11.88C | Heat_Return: | 39.81C | Heat_In: | 47.44C | Expansion_Out: | 12.13C | Expansion_In: | 44.94C
Brine_Out: | 8.75C | Brine_In: | 9.63C | Compressor_Out: | 108.56C | Compressor_In: | 11.88C | Heat_Return: | 40.06C | Heat_In: | 47.75C | Expansion_Out: | 12.44C | Expansion_In: | 45.19C
Brine_Out: | 8.50C | Brine_In: | 9.63C | Compressor_Out: | 105.94C | Compressor_In: | 11.88C | Heat_Return: | 34.88C | Heat_In: | 40.75C | Expansion_Out: | -11.38C | Expansion_In: | 36.56C
Brine_Out: | 8.31C | Brine_In: | 9.69C | Compressor_Out: | 104.94C | Compressor_In: | 11.81C | Heat_Return: | 30.81C | Heat_In: | 33.69C | Expansion_Out: | -17.25C | Expansion_In: | 32.19C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 105.50C | Compressor_In: | 11.81C | Heat_Return: | 29.25C | Heat_In: | 32.25C | Expansion_Out: | -17.50C | Expansion_In: | 31.19C
Brine_Out: | 8.25C | Brine_In: | 9.63C | Compressor_Out: | 106.37C | Compressor_In: | 11.81C | Heat_Return: | 28.75C | Heat_In: | 32.13C | Expansion_Out: | -17.31C | Expansion_In: | 30.87C
Brine_Out: | 8.25C | Brine_In: | 9.63C | Compressor_Out: | 107.06C | Compressor_In: | 11.81C | Heat_Return: | 28.50C | Heat_In: | 32.25C | Expansion_Out: | -17.25C | Expansion_In: | 30.75C
Brine_Out: | 8.25C | Brine_In: | 9.63C | Compressor_Out: | 107.69C | Compressor_In: | 11.81C | Heat_Return: | 28.50C | Heat_In: | 32.38C | Expansion_Out: | -17.12C | Expansion_In: | 30.81C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 108.31C | Compressor_In: | 11.81C | Heat_Return: | 28.56C | Heat_In: | 32.50C | Expansion_Out: | -17.00C | Expansion_In: | 30.94C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 108.87C | Compressor_In: | 11.88C | Heat_Return: | 28.56C | Heat_In: | 32.69C | Expansion_Out: | -16.81C | Expansion_In: | 31.12C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 109.31C | Compressor_In: | 11.81C | Heat_Return: | 28.56C | Heat_In: | 32.94C | Expansion_Out: | -16.75C | Expansion_In: | 31.31C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 109.75C | Compressor_In: | 11.81C | Heat_Return: | 28.56C | Heat_In: | 33.25C | Expansion_Out: | -16.56C | Expansion_In: | 31.56C
Brine_Out: | 8.31C | Brine_In: | 9.69C | Compressor_Out: | 110.19C | Compressor_In: | 11.81C | Heat_Return: | 28.69C | Heat_In: | 33.44C | Expansion_Out: | -16.44C | Expansion_In: | 31.75C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 110.62C | Compressor_In: | 11.81C | Heat_Return: | 28.81C | Heat_In: | 33.75C | Expansion_Out: | -16.31C | Expansion_In: | 32.00C
Brine_Out: | 8.25C | Brine_In: | 9.69C | Compressor_Out: | 111.00C | Compressor_In: | 11.75C | Heat_Return: | 28.94C | Heat_In: | 34.00C | Expansion_Out: | -16.25C | Expansion_In: | 32.19C
Brine_Out: | 8.31C | Brine_In: | 9.69C | Compressor_Out: | 111.31C | Compressor_In: | 11.75C | Heat_Return: | 29.25C | Heat_In: | 34.25C | Expansion_Out: | -16.06C | Expansion_In: | 32.50C
Brine_Out: | 8.31C | Brine_In: | 9.69C | Compressor_Out: | 111.69C | Compressor_In: | 11.75C | Heat_Return: | 29.62C | Heat_In: | 34.50C | Expansion_Out: | -15.75C | Expansion_In: | 32.75C
Brine_Out: | 8.31C | Brine_In: | 9.63C | Compressor_Out: | 112.06C | Compressor_In: | 11.81C | Heat_Return: | 29.94C | Heat_In: | 34.88C | Expansion_Out: | -14.81C | Expansion_In: | 33.00C
Brine_Out: | 8.38C | Brine_In: | 9.63C | Compressor_Out: | 112.37C | Compressor_In: | 11.81C | Heat_Return: | 30.25C | Heat_In: | 35.19C | Expansion_Out: | -12.44C | Expansion_In: | 33.25C
Brine_Out: | 8.38C | Brine_In: | 9.63C | Compressor_Out: | 112.75C | Compressor_In: | 11.81C | Heat_Return: | 30.50C | Heat_In: | 35.44C | Expansion_Out: | -10.63C | Expansion_In: | 33.50C
Brine_Out: | 8.38C | Brine_In: | 9.56C | Compressor_Out: | 113.06C | Compressor_In: | 11.81C | Heat_Return: | 30.75C | Heat_In: | 35.69C | Expansion_Out: | -9.75C | Expansion_In: | 33.75C
Brine_Out: | 8.38C | Brine_In: | 9.56C | Compressor_Out: | 113.44C | Compressor_In: | 11.81C | Heat_Return: | 30.94C | Heat_In: | 36.00C | Expansion_Out: | -8.63C | Expansion_In: | 34.06C
Brine_Out: | 8.31C | Brine_In: | 9.56C | Compressor_Out: | 113.69C | Compressor_In: | 11.81C | Heat_Return: | 31.12C | Heat_In: | 36.25C | Expansion_Out: | -8.00C | Expansion_In: | 34.25C
Brine_Out: | 8.38C | Brine_In: | 9.56C | Compressor_Out: | 113.94C | Compressor_In: | 11.81C | Heat_Return: | 31.31C | Heat_In: | 36.44C | Expansion_Out: | -7.31C | Expansion_In: | 34.50C
Brine_Out: | 8.38C | Brine_In: | 9.56C | Compressor_Out: | 114.12C | Compressor_In: | 11.81C | Heat_Return: | 31.50C | Heat_In: | 36.63C | Expansion_Out: | -6.50C | Expansion_In: | 34.69C
Brine_Out: | 8.38C | Brine_In: | 9.56C | Compressor_Out: | 114.31C | Compressor_In: | 11.81C | Heat_Return: | 31.62C | Heat_In: | 36.81C | Expansion_Out: | -6.06C | Expansion_In: | 34.88C
Brine_Out: | 8.31C | Brine_In: | 9.50C | Compressor_Out: | 114.50C | Compressor_In: | 11.81C | Heat_Return: | 31.81C | Heat_In: | 37.06C | Expansion_Out: | -5.50C | Expansion_In: | 35.06C
Brine_Out: | 8.31C | Brine_In: | 9.50C | Compressor_Out: | 114.69C | Compressor_In: | 11.81C | Heat_Return: | 31.94C | Heat_In: | 37.38C | Expansion_Out: | -4.88C | Expansion_In: | 35.25C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 114.81C | Compressor_In: | 11.81C | Heat_Return: | 32.06C | Heat_In: | 37.63C | Expansion_Out: | -5.00C | Expansion_In: | 35.38C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.00C | Compressor_In: | 11.75C | Heat_Return: | 32.31C | Heat_In: | 37.81C | Expansion_Out: | -4.13C | Expansion_In: | 35.63C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.19C | Compressor_In: | 11.81C | Heat_Return: | 32.56C | Heat_In: | 38.13C | Expansion_Out: | -3.50C | Expansion_In: | 35.88C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.37C | Compressor_In: | 11.81C | Heat_Return: | 32.75C | Heat_In: | 38.44C | Expansion_Out: | -3.19C | Expansion_In: | 36.06C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.50C | Compressor_In: | 11.75C | Heat_Return: | 32.88C | Heat_In: | 38.63C | Expansion_Out: | -3.00C | Expansion_In: | 36.25C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.62C | Compressor_In: | 11.75C | Heat_Return: | 33.06C | Heat_In: | 38.81C | Expansion_Out: | -2.75C | Expansion_In: | 36.44C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.75C | Compressor_In: | 11.81C | Heat_Return: | 33.25C | Heat_In: | 39.00C | Expansion_Out: | -2.44C | Expansion_In: | 36.63C
Brine_Out: | 8.38C | Brine_In: | 9.50C | Compressor_Out: | 115.87C | Compressor_In: | 11.81C | Heat_Return: | 33.38C | Heat_In: | 39.19C | Expansion_Out: | -2.31C | Expansion_In: | 36.81C
Brine_Out: | 8.38C | Brine_In: | 9.56C | Compressor_Out: | 115.94C | Compressor_In: | 11.81C | Heat_Return: | 33.44C | Heat_In: | 39.31C | Expansion_Out: | -2.13C | Expansion_In: | 36.94C
Brine_Out: | 8.44C | Brine_In: | 9.56C | Compressor_Out: | 116.00C | Compressor_In: | 11.81C | Heat_Return: | 33.38C | Heat_In: | 39.50C | Expansion_Out: | -2.00C | Expansion_In: | 37.13C
Brine_Out: | 8.44C | Brine_In: | 9.56C | Compressor_Out: | 116.12C | Compressor_In: | 11.81C | Heat_Return: | 33.50C | Heat_In: | 39.69C | Expansion_Out: | -1.69C | Expansion_In: | 37.38C
Brine_Out: | 8.44C | Brine_In: | 9.56C | Compressor_Out: | 116.19C | Compressor_In: | 11.81C | Heat_Return: | 33.81C | Heat_In: | 39.69C | Expansion_Out: | -1.25C | Expansion_In: | 37.69C
Brine_Out: | 8.44C | Brine_In: | 9.56C | Compressor_Out: | 116.31C | Compressor_In: | 11.81C | Heat_Return: | 34.06C | Heat_In: | 39.69C | Expansion_Out: | -1.19C | Expansion_In: | 37.81C
Brine_Out: | 8.44C | Brine_In: | 9.56C | Compressor_Out: | 115.62C | Compressor_In: | 11.88C | Heat_Return: | 34.38C | Heat_In: | 39.94C | Expansion_Out: | 0.25C | Expansion_In: | 38.06C
Brine_Out: | 8.50C | Brine_In: | 9.63C | Compressor_Out: | 113.25C | Compressor_In: | 11.88C | Heat_Return: | 34.56C | Heat_In: | 40.50C | Expansion_Out: | 2.63C | Expansion_In: | 38.31C
Brine_Out: | 8.50C | Brine_In: | 9.63C | Compressor_Out: | 111.50C | Compressor_In: | 11.88C | Heat_Return: | 34.69C | Heat_In: | 40.81C | Expansion_Out: | 2.94C | Expansion_In: | 38.38C
Brine_Out: | 8.50C | Brine_In: | 9.63C | Compressor_Out: | 110.31C | Compressor_In: | 11.88C | Heat_Return: | 34.88C | Heat_In: | 40.69C | Expansion_Out: | 3.56C | Expansion_In: | 38.69C
Brine_Out: | 8.50C | Brine_In: | 9.63C | Compressor_Out: | 109.56C | Compressor_In: | 11.88C | Heat_Return: | 35.06C | Heat_In: | 40.88C | Expansion_Out: | 4.00C | Expansion_In: | 38.94C
Brine_Out: | 8.56C | Brine_In: | 9.69C | Compressor_Out: | 109.00C | Compressor_In: | 11.88C | Heat_Return: | 35.25C | Heat_In: | 41.06C | Expansion_Out: | 4.25C | Expansion_In: | 39.13C
Brine_Out: | 8.56C | Brine_In: | 9.69C | Compressor_Out: | 108.56C | Compressor_In: | 11.88C | Heat_Return: | 35.44C | Heat_In: | 41.25C | Expansion_Out: | 4.56C | Expansion_In: | 39.38C
Brine_Out: | 8.56C | Brine_In: | 9.69C | Compressor_Out: | 108.25C | Compressor_In: | 11.88C | Heat_Return: | 35.56C | Heat_In: | 41.56C | Expansion_Out: | 4.88C | Expansion_In: | 39.63C
Brine_Out: | 8.63C | Brine_In: | 9.69C | Compressor_Out: | 108.06C | Compressor_In: | 11.88C | Heat_Return: | 35.75C | Heat_In: | 41.81C | Expansion_Out: | 5.06C | Expansion_In: | 39.81C
Brine_Out: | 8.63C | Brine_In: | 9.69C | Compressor_Out: | 107.94C | Compressor_In: | 11.88C | Heat_Return: | 35.94C | Heat_In: | 42.06C | Expansion_Out: | 5.31C | Expansion_In: | 40.00C
Brine_Out: | 8.63C | Brine_In: | 9.69C | Compressor_Out: | 107.81C | Compressor_In: | 11.88C | Heat_Return: | 36.06C | Heat_In: | 42.31C | Expansion_Out: | 5.44C | Expansion_In: | 40.13C
Brine_Out: | 8.63C | Brine_In: | 9.69C | Compressor_Out: | 107.75C | Compressor_In: | 11.88C | Heat_Return: | 36.13C | Heat_In: | 42.44C | Expansion_Out: | 5.69C | Expansion_In: | 40.25C
Brine_Out: | 8.63C | Brine_In: | 9.69C | Compressor_Out: | 107.75C | Compressor_In: | 11.88C | Heat_Return: | 36.31C | Heat_In: | 42.75C | Expansion_Out: | 6.13C | Expansion_In: | 40.50C
Brine_Out: | 8.69C | Brine_In: | 9.69C | Compressor_Out: | 107.69C | Compressor_In: | 11.88C | Heat_Return: | 36.38C | Heat_In: | 43.00C | Expansion_Out: | 6.25C | Expansion_In: | 40.69C
Brine_Out: | 8.69C | Brine_In: | 9.69C | Compressor_Out: | 107.62C | Compressor_In: | 11.88C | Heat_Return: | 36.56C | Heat_In: | 43.19C | Expansion_Out: | 6.50C | Expansion_In: | 40.81C
Brine_Out: | 8.69C | Brine_In: | 9.69C | Compressor_Out: | 107.62C | Compressor_In: | 11.88C | Heat_Return: | 36.69C | Heat_In: | 43.31C | Expansion_Out: | 6.63C | Expansion_In: | 41.00C
Brine_Out: | 8.69C | Brine_In: | 9.75C | Compressor_Out: | 107.62C | Compressor_In: | 11.94C | Heat_Return: | 36.75C | Heat_In: | 43.44C | Expansion_Out: | 6.69C | Expansion_In: | 41.13C
Brine_Out: | 8.69C | Brine_In: | 9.75C | Compressor_Out: | 107.62C | Compressor_In: | 11.94C | Heat_Return: | 36.88C | Heat_In: | 43.63C | Expansion_Out: | 7.13C | Expansion_In: | 41.31C
Brine_Out: | 8.69C | Brine_In: | 9.75C | Compressor_Out: | 107.69C | Compressor_In: | 11.94C | Heat_Return: | 37.06C | Heat_In: | 43.88C | Expansion_Out: | 7.38C | Expansion_In: | 41.50C
Brine_Out: | 8.75C | Brine_In: | 9.75C | Compressor_Out: | 107.62C | Compressor_In: | 11.94C | Heat_Return: | 37.19C | Heat_In: | 44.00C | Expansion_Out: | 7.44C | Expansion_In: | 41.69C
Brine_Out: | 8.75C | Brine_In: | 9.75C | Compressor_Out: | 107.69C | Compressor_In: | 11.94C | Heat_Return: | 37.38C | Heat_In: | 44.19C | Expansion_Out: | 7.81C | Expansion_In: | 41.88C
Brine_Out: | 8.75C | Brine_In: | 9.75C | Compressor_Out: | 107.62C | Compressor_In: | 11.94C | Heat_Return: | 37.38C | Heat_In: | 44.25C | Expansion_Out: | 7.88C | Expansion_In: | 41.94C
Brine_Out: | 8.75C | Brine_In: | 9.75C | Compressor_Out: | 107.69C | Compressor_In: | 11.94C | Heat_Return: | 37.50C | Heat_In: | 44.50C | Expansion_Out: | 8.19C | Expansion_In: | 42.19C
Brine_Out: | 8.75C | Brine_In: | 9.75C | Compressor_Out: | 107.69C | Compressor_In: | 11.94C | Heat_Return: | 37.63C | Heat_In: | 44.50C | Expansion_Out: | 8.19C | Expansion_In: | 42.25C
Brine_Out: | 8.81C | Brine_In: | 9.81C | Compressor_Out: | 107.75C | Compressor_In: | 12.00C | Heat_Return: | 37.75C | Heat_In: | 44.38C | Expansion_Out: | 8.63C | Expansion_In: | 42.44C
Brine_Out: | 8.81C | Brine_In: | 9.81C | Compressor_Out: | 107.75C | Compressor_In: | 11.94C | Heat_Return: | 37.88C | Heat_In: | 44.44C | Expansion_Out: | 8.75C | Expansion_In: | 42.56C
Brine_Out: | 8.75C | Brine_In: | 9.81C | Compressor_Out: | 107.75C | Compressor_In: | 11.94C | Heat_Return: | 37.94C | Heat_In: | 44.81C | Expansion_Out: | 8.81C | Expansion_In: | 42.69C
Brine_Out: | 8.81C | Brine_In: | 9.81C | Compressor_Out: | 107.81C | Compressor_In: | 12.00C | Heat_Return: | 38.06C | Heat_In: | 45.00C | Expansion_Out: | 9.06C | Expansion_In: | 42.88C
Brine_Out: | 8.81C | Brine_In: | 9.81C | Compressor_Out: | 107.87C | Compressor_In: | 12.00C | Heat_Return: | 38.19C | Heat_In: | 45.25C | Expansion_Out: | 9.31C | Expansion_In: | 43.00C
Brine_Out: | 8.94C | Brine_In: | 9.81C | Compressor_Out: | 104.69C | Compressor_In: | 12.44C | Heat_Return: | 38.13C | Heat_In: | 44.81C | Expansion_Out: | 19.31C | Expansion_In: | 41.69C
Brine_Out: | 8.88C | Brine_In: | 9.81C | Compressor_Out: | 93.56C | Compressor_In: | 13.81C | Heat_Return: | 38.19C | Heat_In: | 44.25C | Expansion_Out: | 21.31C | Expansion_In: | 39.56C