## Sheet1
InsideViessmannVitosoft % python3 PrintEventsForDatapoint.py
VT200 WO1C
==========
# Overview (19590)
- System (19555)
- Relay status M2 mixer CLOSED (6691) [WPR_RelaisStatus_M2_MischerZU~0x04B3 (Byte)]
- Relay status control ext. heat source (6656) [WPR_RelaisStatus_Ansteuerung_ExtWaermeerzeuger~0x048B (Byte)]
- Control ext. heat source (6596) [WPR_RelaisLaufzeiten_Ansteuerung_ExtWaermeerzeuger~0x058B (Int4)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Relay status swimming pool valve (6703) [WPR_RelaisStatus_Schwimmbad_Ventil~0x0497 (Byte)] HIDDEN:("Swimming pool available"="No")
- Relay lag heat pump 1 at cascade module (6742) [WPR_RelaisZustand_FolgeWP1_Kaskade~0x0418 (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Relay lag heat pump 2 at cascade module (6743) [WPR_RelaisZustand_FolgeWP2_Kaskade~0x0419 (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Relay lag heat pump 3 at cascade module (6744) [WPR_RelaisZustand_FolgeWP3_Kaskade~0x041A (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- (7777) LON objects field BUS subscriber number (7032) [WPR_Teilnehmernummer~0x7777 (Byte)]
- Date and time HPCU (7033) [WPR_Uhrzeit~0x08E0 (Array)]
- System scheme (6181) [WPR_Anlagenschema~0x7000 (Byte)]
- Relay lag heat pump 4 at cascade module (6745) [WPR_RelaisZustand_FolgeWP4_Kaskade~0x041B (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Heat pump (19635)
- Secondary pump (6704) [WPR_RelaisStatus_SekPumpe1~0x0484 (Byte)]
- Relay status 3-way valve heating/DHW1 (6653) [WPR_RelaisStatus_3W_VentilHeizen_WW1~0x0494 (Byte)]
- Compressor 1 (6650) [WPR_RelaisLaufzeiten_Verdichter1~0x0580 (Int4)]
- Compressor 1 (6830) [WPR_RelaisZyklen_Verdichter1~0x0500 (Int4)]
- Elec. heating stage 1 (6673) [WPR_RelaisStatus_eHeizung_Stufe1~0x0488 (Byte)]
- Elec. heating stage 1 (6613) [WPR_RelaisLaufzeiten_eHeizung_Stufe1~0x0588 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Compressor 2 (6711) [WPR_RelaisStatus_Verdichter2~0x0481 (Byte)] HIDDEN:("Relay compressor 2"="NOT AVAILABLE")
- Primary source 2 (primary pump) (6700) [WPR_RelaisStatus_Primaerquelle2~0x0483 (Byte)] HIDDEN:("Relay primary source 2"="NOT AVAILABLE")
- Secondary pump 2 (6705) [WPR_RelaisStatus_SekPumpe2~0x0485 (Byte)] HIDDEN:("Relay secondary pump 2"="NOT AVAILABLE")
- Relay status 3-way valve heating/DHW2 (6654) [WPR_RelaisStatus_3W_VentilHeizen_WW2~0x0495 (Byte)] HIDDEN:("Relay valve heating/DHW 2"="NOT AVAILABLE")
- Compressor 2 (6651) [WPR_RelaisLaufzeiten_Verdichter2~0x0581 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE" OR "HP stage 2 available"="No""HP stage 2 available"="No")
- Compressor 2 (6831) [WPR_RelaisZyklen_Verdichter2~0x0501 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE""HP stage 2 available"="No")
- Elec. heating stage 2 (6674) [WPR_RelaisStatus_eHeizung_Stufe2~0x0489 (Byte)]
- Elec. heating stage 2 (6614) [WPR_RelaisLaufzeiten_eHeizung_Stufe2~0x0589 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Heating circuit 1 (19630) HIDDEN:("HC1 available"="No")
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- (2007) HC1 slope heating curve (6363) [WPR_HK1_Neigung_Heizkennlinie~0x2007 (SInt)]
- (2006) HC1 level heating curve (6366) [WPR_HK1_Niveau_Heizkennlinie~0x2006 (SInt)]
- Heating circuit pump HC1 (6686) [WPR_RelaisStatus_Heizkreispumpe_A1~0x048D (Byte)]
- Cooling, heating circuit 1 (19677) HIDDEN:("HC1 available"="No" OR "Heating circuit 1 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Heating circuit 2 (19631) HIDDEN:("HC2 available"="No")
- (3000) HC2 standard room temperature (6399) [WPR_HK2_Normaltemperatur~0x3000 (SInt)]
- (3001) HC2 reduced room temperature (6403) [WPR_HK2_Redtemperatur~0x3001 (SInt)]
- (3007) HC2 slope heating curve (6393) [WPR_HK2_Neigung_Heizkennlinie~0x3007 (SInt)]
- (3006) HC2 level heating curve (6396) [WPR_HK2_Niveau_Heizkennlinie~0x3006 (SInt)]
- Heating circuit pump HC2 (6687) [WPR_RelaisStatus_Heizkreispumpe_M2~0x048E (Byte)]
- Mixer HC2 (6527) [WPR_Mischer_HK_M2_Status~0x0600 (SInt)] HIDDEN:("HC2 available"="NOT AVAILABLE""Mixer HC2"="NOT AVAILABLE")
- Cooling, heating circuit 2 (19678) HIDDEN:("HC2 available"="No" OR "Heating circuit 2 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Heating circuit 3 (19632) HIDDEN:("HC3 available"="No")
- (4000) HC3 standard room temperature (6429) [WPR_HK3_Normaltemperatur~0x4000 (SInt)]
- (4001) HC3 reduced room temperature (6433) [WPR_HK3_Redtemperatur~0x4001 (SInt)]
- (4007) HC3 slope heating curve (6423) [WPR_HK3_Neigung_Heizkennlinie~0x4007 (SInt)]
- (4006) HC3 level heating curve (6426) [WPR_HK3_Niveau_Heizkennlinie~0x4006 (SInt)]
- Heating circuit pump HC3 (6688) [WPR_RelaisStatus_Heizkreispumpe_M3~0x048F (Byte)]
- Mixer HC3 (6532) [WPR_Mischer_HK_M3_Status~0x0601 (SInt)] HIDDEN:("HC3 available"="NOT AVAILABLE""Mixer HC3"="NOT AVAILABLE")
- Cooling, heating circuit 3 (19679) HIDDEN:("HC3 available"="No" OR "Heating circuit 3 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- DHW (19634) HIDDEN:("DHW cylinder available"="No")
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- Cylinder primary pump (6708) [WPR_RelaisStatus_Speicherladepumpe~0x0496 (Byte)]
- DHW circulation pump (6702) [WPR_RelaisStatus_Schaltausgang_Wtimer_ZP~0x0490 (Byte)]
- Cylinder reheating (6709) [WPR_RelaisStatus_Speichernachheizung~0x048A (Byte)]
- Cylinder reheating (6649) [WPR_RelaisLaufzeiten_Speichernachheizung~0x058A (Int4)]
- Solar (19609) HIDDEN:("Internal solar circuit available"="No" AND "Solar module SM1 available"="No" AND "Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Solar circuit pump (6646) [WPR_RelaisLaufzeiten_Solarpumpe~0x0593 (Int4)] HIDDEN:("Solar control unit internal available"="NOT AVAILABLE" OR "Internal solar circuit available"="No")
- Solar yield controller methods (6986) [WPR_Solarertrag_Reglermethoden~0x190A (SInt4)]
- Relay status solar circuit pump (6706) [WPR_RelaisStatus_Solarpumpe~0x0493 (Byte)] HIDDEN:("Internal solar circuit available"="No")
- Relay status solar circuit pump Vitosolic (6707) [WPR_RelaisStatus_SolarpumpeVitosolic~0x04A0 (Byte)] HIDDEN:("Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
# Statistics (19602)
- Hours run, system (19557)
- Heating circuit pump A1 (6626) [WPR_RelaisLaufzeiten_Heizkreispumpe_A1~0x058D (Int4)]
- HEATING CIRCUIT PUMP M2 (6627) [WPR_RelaisLaufzeiten_Heizkreispumpe_M2~0x058E (Int4)] HIDDEN:("HC2 available"="NOT AVAILABLE")
- Heating circuit pump M3 (6628) [WPR_RelaisLaufzeiten_Heizkreispumpe_M3~0x058F (Int4)] HIDDEN:("HC3 available"="NOT AVAILABLE" OR "HC3 available"="NOT AVAILABLE")
- Control ext. heat source (6596) [WPR_RelaisLaufzeiten_Ansteuerung_ExtWaermeerzeuger~0x058B (Int4)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Cylinder primary pump (6648) [WPR_RelaisLaufzeiten_Speicherladepumpe~0x0596 (Int4)]
- Active cooling (6595) [WPR_RelaisLaufzeiten_ActiveCooling~0x058C (Int4)] HIDDEN:("Active cooling available"="NOT AVAILABLE")
- Natural cooling control (6636) [WPR_RelaisLaufzeiten_NatCooling_Ansteuerung~0x0592 (Int4)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- Swimming pool_valve (6643) [WPR_RelaisLaufzeiten_Schwimmbad_Ventil~0x0597 (Int4)] HIDDEN:("Swimming pool available"="NOT AVAILABLE" OR "Swimming pool available"="NOT AVAILABLE")
- Cylinder reheating (6649) [WPR_RelaisLaufzeiten_Speichernachheizung~0x058A (Int4)]
- DHW heating set value 2 (pasteurisation) (6652) [WPR_RelaisLaufzeiten_WW_Ladung_2terSollwert~0x05A1 (Int4)]
- Hours run, HP (19556)
- 3-way valve heating/DHW1 (6593) [WPR_RelaisLaufzeiten_3W_VentilHeizen_WW1~0x0594 (Int4)]
- 3-way valve heating/DHW2 (6594) [WPR_RelaisLaufzeiten_3W_VentilHeizen_WW2~0x0595 (Int4)]
- Elec. heating stage 1 (6613) [WPR_RelaisLaufzeiten_eHeizung_Stufe1~0x0588 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Elec. heating stage 2 (6614) [WPR_RelaisLaufzeiten_eHeizung_Stufe2~0x0589 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- EEV1 compressor (6604) [WPR_RelaisLaufzeiten_EEV1_Verdichter~0x05A8 (Int4)]
- EEV2 compressor (6612) [WPR_RelaisLaufzeiten_EEV2_Verdichter~0x05A9 (Int4)] HIDDEN:("EEV2 available"="NOT AVAILABLE")
- Refrigerant circuit reversal (6629) [WPR_RelaisLaufzeiten_Kaeltekreis_Umkehr~0x059C (Int4)]
- Primary source 1 (fan or primary pump) (6639) [WPR_RelaisLaufzeiten_Primaerquelle1~0x0582 (Int4)]
- Primary source 2 (primary pump) (6640) [WPR_RelaisLaufzeiten_Primaerquelle2~0x0583 (Int4)]
- CENTRAL FAULT (6641) [WPR_RelaisLaufzeiten_Sammelstoerung~0x0591 (Int4)]
- Switching output 7-day timer DHWCP (6642) [WPR_RelaisLaufzeiten_Schaltausgang_Wtimer_ZP~0x0590 (Int4)]
- Secondary pump 1 (6644) [WPR_RelaisLaufzeiten_SekPumpe1~0x0584 (Int4)]
- Secondary pump 2 (6645) [WPR_RelaisLaufzeiten_SekPumpe2~0x0585 (Int4)]
- Switching cycles HP (19558)
- Primary source 1 (fan or primary pump) (6819) [WPR_RelaisZyklen_Primaerquelle1~0x0502 (Int4)]
- Secondary pump 1 (6824) [WPR_RelaisZyklen_SekPumpe1~0x0504 (Int4)]
- Compressor 1 (6830) [WPR_RelaisZyklen_Verdichter1~0x0500 (Int4)]
- EEV1 compressor (6784) [WPR_RelaisZyklen_EEV1_Verdichter~0x0528 (Int4)]
- Relay 3-way valve heating/DHW1 (6773) [WPR_RelaisZyklen_3W_VentilHeizen_WW1~0x0514 (Int4)]
- EEV1 heating/cooling (6783) [WPR_RelaisZyklen_EEV1_HeizenKuehlen~0x0526 (Int4)]
- Primary source 2 (primary pump) (6820) [WPR_RelaisZyklen_Primaerquelle2~0x0503 (Int4)]
- Secondary pump 2 (6825) [WPR_RelaisZyklen_SekPumpe2~0x0505 (Int4)]
- Compressor 2 (6831) [WPR_RelaisZyklen_Verdichter2~0x0501 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE""HP stage 2 available"="No")
- EEV2 compressor (6792) [WPR_RelaisZyklen_EEV2_Verdichter~0x0529 (Int4)] HIDDEN:("EEV2 available"="NOT AVAILABLE")
- Relay 3-way valve heating/DHW2 (6774) [WPR_RelaisZyklen_3W_VentilHeizen_WW2~0x0515 (Int4)]
- EEV2 heating/cooling (6791) [WPR_RelaisZyklen_EEV2_HeizenKuehlen~0x0527 (Int4)] HIDDEN:("EEV2 available"="NOT AVAILABLE")
- Elec. heating stage1 (6793) [WPR_RelaisZyklen_eHeizung_Stufe1~0x0508 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Elec. heating stage2 (6794) [WPR_RelaisZyklen_eHeizung_Stufe2~0x0509 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Switching cycles system (19559)
- Natural cooling control (6816) [WPR_RelaisZyklen_NatCooling_Ansteuerung~0x0512 (Int4)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- Active cooling (6775) [WPR_RelaisZyklen_ActiveCooling~0x050C (Int4)] HIDDEN:("Active cooling available"="NOT AVAILABLE")
- Relay status control ext. heat source (6776) [WPR_RelaisZyklen_Ansteuerung_ExtWaermeerzeuger~0x050B (Int4)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Swimming pool valve (6823) [WPR_RelaisZyklen_Schwimmbad_Ventil~0x0517 (Int4)] HIDDEN:("Swimming pool available"="NOT AVAILABLE")
- Cylinder primary pump (6828) [WPR_RelaisZyklen_Speicherladepumpe~0x0516 (Int4)]
- Cylinder reheating (6829) [WPR_RelaisZyklen_Speichernachheizung~0x050A (Int4)]
- DHW heating set value 2 (pasteurisation) (6832) [WPR_RelaisZyklen_WW_Ladung_2terSollwert~0x0521 (Int4)]
- Solar circuit pump (6826) [WPR_RelaisZyklen_Solarpumpe~0x0513 (Int4)] HIDDEN:("Solar control unit internal available"="NOT AVAILABLE" AND "Vitosolic 100 available"="NOT AVAILABLE" AND "Vitosolic 200 available"="NOT AVAILABLE")
- Solar circuit pump Vitosolic (6827) [WPR_RelaisZyklen_SolarpumpeVitosolic~0x0520 (Int4)] HIDDEN:("Vitosolic 100 available"="NOT AVAILABLE" AND "Vitosolic 200 available"="NOT AVAILABLE")
- Lag heat pump 1 cascade (6802) [WPR_RelaisZyklen_FolgeWP1_Kaskade~0x0518 (Int4)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Lag heat pump 2 cascade (6803) [WPR_RelaisZyklen_FolgeWP2_Kaskade~0x0519 (Int4)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Lag heat pump 3 cascade (6804) [WPR_RelaisZyklen_FolgeWP3_Kaskade~0x051A (Int4)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Lag heat pump 4 cascade (6805) [WPR_RelaisZyklen_FolgeWP4_Kaskade~0x051B (Int4)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- CENTRAL FAULT (6821) [WPR_RelaisZyklen_Sammelstoerung~0x0511 (Int4)]
- Natural cooling via HC mixer CLOSED (6818) [WPR_RelaisZyklen_NCueberHK_MischerZU~0x0537 (Int4)]
- Ext. heat source mixer OPEN (6795) [WPR_RelaisZyklen_extWaermeerzeuger_MischerAUF~0x0538 (Int4)]
- Mixer OPEN for relay test (6814) [WPR_RelaisZyklen_MischerAUF_Relaistest~0x053A (Int4)]
# Operation (19591)
- System (19640)
- (7902) Electric heating mode (6196) [WPR_eHeizung_Heizbetrieb_mit_Elektro~0x7902 (Int)]
- Heating circuit HC1 (19636) HIDDEN:("HC1 available"="No")
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- (2007) HC1 slope heating curve (6363) [WPR_HK1_Neigung_Heizkennlinie~0x2007 (SInt)]
- (2006) HC1 level heating curve (6366) [WPR_HK1_Niveau_Heizkennlinie~0x2006 (SInt)]
- Heating circuit HC2 (19637) HIDDEN:("HC2 available"="No")
- (3000) HC2 standard room temperature (6399) [WPR_HK2_Normaltemperatur~0x3000 (SInt)]
- (3001) HC2 reduced room temperature (6403) [WPR_HK2_Redtemperatur~0x3001 (SInt)]
- (3007) HC2 slope heating curve (6393) [WPR_HK2_Neigung_Heizkennlinie~0x3007 (SInt)]
- (3006) HC2 level heating curve (6396) [WPR_HK2_Niveau_Heizkennlinie~0x3006 (SInt)]
- Heating circuit HC3 (19638) HIDDEN:("HC3 available"="No")
- (4000) HC3 standard room temperature (6429) [WPR_HK3_Normaltemperatur~0x4000 (SInt)]
- (4001) HC3 reduced room temperature (6433) [WPR_HK3_Redtemperatur~0x4001 (SInt)]
- (4007) HC3 slope heating curve (6423) [WPR_HK3_Neigung_Heizkennlinie~0x4007 (SInt)]
- (4006) HC3 level heating curve (6426) [WPR_HK3_Niveau_Heizkennlinie~0x4006 (SInt)]
- Cooling (19676) HIDDEN:("Separate cooling circuit available"="No")
- (7111) Natural cooling slope cooling curve (6965) [WPR_SepNCKreis_NatCooling_Neigung_Kuehlkennlinie~0x7106 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7110) Natural cooling level cooling curve (6967) [WPR_SepNCKreis_NatCooling_Niveau_Kuehlkennlinie~0x7105 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- DHW (19639)
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- (6009) Start optimisation (7132) [WPR_WW_Einschaltoptimierung~0x6009 (Int)]
- (600A) Stop optimisation (7129) [WPR_WW_Abschaltoptimierung~0x600A (Int)]
- (600C) Second set value (7139) [WPR_WW_Temp_Legionelle~0x600C (SInt)]
- Time (19583)
- Date and time HPCU (7033) [WPR_Uhrzeit~0x08E0 (Array)]
- Time summer month (7034) [WPR_Uhrzeit_Sommer_Monat~0x7C01 (Int)]
- Time summer day (7035) [WPR_Uhrzeit_Sommer_Tag~0x7C03 (Int)]
- Time summer week (7036) [WPR_Uhrzeit_Sommer_Woche~0x7C02 (Int)]
- Time winter month (7037) [WPR_Uhrzeit_Winter_Monat~0x7C04 (Int)]
- Time winter day (7038) [WPR_Uhrzeit_Winter_Tag~0x7C06 (Int)]
- Time winter week (7039) [WPR_Uhrzeit_Winter_Woche~0x7C05 (Int)]
- Time time changeover (7040) [WPR_Uhrzeit_Zeitumstellung~0x7C00 (Int)]
# Commissioning (19592)
- System def. (19641)
- (7000) System scheme (6150) [WPR_Anlagenkonfig_Anlagenschema~0x7000 (Int)]
- (7003) Hysteresis heating limit (6166) [WPR_Anlagenkonfig_Hysterese_Heizgrenze~0x7003 (SInt)]
- (7004) Hysteresis cooling limit (6167) [WPR_Anlagenkonfig_Hysterese_Kuehlgrenze~0x7004 (SInt)]
- (7008) Swimming pool (6175) [WPR_Anlagenkonfig_Schwimmbad~0x7008 (Int)]
- (700A) Cascade (6169) [WPR_Anlagenkonfig_Kaskade~0x700A (Int)]
- (700B) Output lag heat pump (6170) [WPR_Anlagenkonfig_LeistungFolgeWP~0x700B (Int)]
- (7010) Ext. connection extension found (6154) [WPR_Anlagenkonfig_Ext_Anschlusserw_vorhanden~0x7010 (Int)]
- (7011) Operating mode changeover to HC (6153) [WPR_Anlagenkonfig_BA_UmschaltungAufHK~0x7011 (Int)]
- (7012) Operating mode changeover effect (6152) [WPR_Anlagenkonfig_BA_Umschaltung_Wirkung~0x7012 (Int)]
- (7013) Operating mode changeover duration (6151) [WPR_Anlagenkonfig_BA_Umschaltung_Dauer~0x7013 (SInt)]
- (7014) External demand mixer OPEN (6157) [WPR_Anlagenkonfig_ExternAnf_MiAuf~0x7014 (Int)]
- (7015) External blocking mixer CLOSED (6158) [WPR_Anlagenkonfig_ExternSperren_MiZu~0x7015 (Int)]
- (7017) Vitocom 100 (6178) [WPR_Anlagenkonfig_Vitocom100~0x7017 (Int)]
- (701A) External blocking effect HCP1 (6159) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP1~0x701A (Byte)]
- (701A) External blocking effect HCP2 (6160) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP2~0x701A (Byte)]
- (701A) External blocking effect HCP3 (6161) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP3~0x701A (Byte)]
- (701A) External blocking effect sec. pump (6163) [WPR_Anlagenkonfig_ExternSperrenWirkung_SekPumpe~0x701A (Byte)]
- (701A) External blocking effect CPP (6164) [WPR_Anlagenkonfig_ExternSperrenWirkung_SLP~0x701A (Byte)]
- Compressor 1 (19650)
- (5000) Compressor stage enabled (7082) [WPR_Verdichter1_VerdStufeFreigegeben~0x5000 (Byte)]
- (5010) Defrost stop temperature (7074) [WPR_Verdichter1_Temp_Abtauende~0x5010 (SInt)]
- (5030) Output compressor (7051) [WPR_Verdichter1_LeistungVerd~0x5030 (Int)]
- Compressor 2 (19651) HIDDEN:("HP stage 2 available"="No")
- Compressor2 compressor stage enabled (7117) [WPR_Verdichter2_VerdStufeFreigegeben~0x5100 (Byte)]
- Compressor2 temperature defrost end (7110) [WPR_Verdichter2_Temp_Abtauende~0x5110 (SInt)]
- Compressor2 output compressor (7091) [WPR_Verdichter2_LeistungVerd~0x5130 (Int)]
- DHW (19652) HIDDEN:("DHW cylinder available"="No")
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- (6005) Minimum temperature DHW cylinder (7141) [WPR_WW_Temp_min_WWspeicher~0x6005 (SInt)]
- (6006) Maximum temperature DHW cylinder (7140) [WPR_WW_Temp_max_WWspeicher~0x6006 (SInt)]
- (6007) DHW hysteresis (7133) [WPR_WW_Hysterese_Warmwasser~0x6007 (SInt)]
- (6008) Hysteresis DHW emergency (7134) [WPR_WW_Hysterese_Warmwasser_not~0x6008 (SInt)]
- (6009) Start optimisation (7132) [WPR_WW_Einschaltoptimierung~0x6009 (Int)]
- (600A) Stop optimisation (7129) [WPR_WW_Abschaltoptimierung~0x600A (Int)]
- (600C) Second set value (7139) [WPR_WW_Temp_Legionelle~0x600C (SInt)]
- (600E) Temperature sensor 2 (7148) [WPR_WW_ZweiterTempSensor~0x600E (Int)]
- (6014) Elec. heater DHW cylinder (7131) [WPR_WW_EHeizWWSpeicher~0x6014 (Int)]
- Solar (19582) HIDDEN:("Internal solar circuit available"="No")
- (7A00) Solar thermal system (6976) [WPR_Solaranlage~0x7A00 (Int)]
- (7A01) Solar thermal system max. temperature solar (6983) [WPR_Solaranlage_TempMax_solar~0x7A01 (SInt)]
- (7A02) Solar thermal system hysteresis solar start (6979) [WPR_Solaranlage_Hysterese_SolarEin~0x7A02 (SInt)]
- (7A03) Solar thermal system hysteresis solar stop (6978) [WPR_Solaranlage_Hysterese_SolarAus~0x7A03 (SInt)]
- (7A07) Solar thermal system flow rate solar (6985) [WPR_Solaranlage_Volumenstrom_Solar~0x7A07 (SInt)]
- (7A08) Solar thermal system check valve fault (6981) [WPR_Solaranlage_Rueckschlagklappenfehler~0x7A09 (Int)]
- Electric heater (19642) HIDDEN:("Electric heater available"="No")
- (7900) Installed (6203) [WPR_eHeizung_vorhanden~0x7900 (Int)]
- (7902) Electric heating mode (6196) [WPR_eHeizung_Heizbetrieb_mit_Elektro~0x7902 (Int)]
- (7907) Max. stage electric (6198) [WPR_eHeizung_max_Stufe_Elektro~0x7907 (Int)]
- Hydraulics (19647)
- (7300) Heat pump for drying buildings (6449) [WPR_Hydraulik_Waermepumpe_fuer_Bautrocknung~0x7300 (Int)]
- (7303) Screed program (6441) [WPR_Hydraulik_Estrichprogramm~0x7303 (Int)]
- (730C) Flow set temperature ext. demand (6448) [WPR_Hydraulik_VorlaufTempSoll_ExtAnf~0x730C (SInt)]
- Ext. heat source (19643) HIDDEN:("External heat source available"="No")
- (7B00) Ext. HS ext. heat source (6211) [WPR_extWE_ExtWaermeerzeuger~0x7B00 (Int)]
- (7B01) Ext. HS priority (6222) [WPR_extWE_Vorrang~0x7B01 (Int)]
- (7B02) Ext. HS Tamb max (6217) [WPR_extWE_TambMax~0x7B02 (SInt)]
- Buffer cylinder (19649) HIDDEN:("Buffer cylinder available"="No")
- (7200) Buffer cylinder (6331) [WPR_HeizSpeicher_Heizspeicher~0x7200 (Int)]
- (7202) Set temperature buffer cylinder (6335) [WPR_HeizSpeicher_SollTemp_Heizspeicher~0x7202 (SInt)]
- (7203) Hysteresis buffer cylinder (6332) [WPR_HeizSpeicher_hysterese_heizspeicher~0x7203 (SInt)]
- (7204) Max. temperature buffer cylinder (6333) [WPR_HeizSpeicher_MaxTemp_Heizspeicher~0x7204 (SInt)]
- Heating circuit HC1 (19644) HIDDEN:("HC1 available"="No")
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- (2003) HC1 remote control (6352) [WPR_HK1_Fernbedienung~0x2003 (Int)]
- (2006) HC1 level heating curve (6366) [WPR_HK1_Niveau_Heizkennlinie~0x2006 (SInt)]
- (2007) HC1 slope heating curve (6363) [WPR_HK1_Neigung_Heizkennlinie~0x2007 (SInt)]
- (200A) HC1 slope room hook-up (6365) [WPR_HK1_Neigung_Raumaufschaltung~0x200A (Int)]
- (200B) HC1 room temperature hook-up (6371) [WPR_HK1_Raumtemperaturaufschaltung~0x200B (Int)]
- (200E) HC1 max. flow temperature heating circuit (6359) [WPR_HK1_max_Vorlauftemperatur_HK~0x200E (SInt)]
- Heating circuit HC2 (19645) HIDDEN:("HC2 available"="No")
- (3000) HC2 standard room temperature (6399) [WPR_HK2_Normaltemperatur~0x3000 (SInt)]
- (3001) HC2 reduced room temperature (6403) [WPR_HK2_Redtemperatur~0x3001 (SInt)]
- (3003) HC2 remote control (6382) [WPR_HK2_Fernbedienung~0x3003 (Int)]
- (3006) HC2 level heating curve (6396) [WPR_HK2_Niveau_Heizkennlinie~0x3006 (SInt)]
- (3007) HC2 slope heating curve (6393) [WPR_HK2_Neigung_Heizkennlinie~0x3007 (SInt)]
- (300A) HC2 slope room hook-up (6395) [WPR_HK2_Neigung_Raumaufschaltung~0x300A (Int)]
- (300B) HC2 room temperature hook-up (6401) [WPR_HK2_Raumtemperaturaufschaltung~0x300B (Int)]
- (300E) HC2 max. flow temperature heating circuit (6389) [WPR_HK2_max_Vorlauftemperatur_HK~0x300E (SInt)]
- Heating circuit HC3 (19646) HIDDEN:("Heating circuit 3 cooling function available"="No")
- (4000) HC3 standard room temperature (6429) [WPR_HK3_Normaltemperatur~0x4000 (SInt)]
- (4001) HC3 reduced room temperature (6433) [WPR_HK3_Redtemperatur~0x4001 (SInt)]
- (4003) HC3 remote control (6412) [WPR_HK3_Fernbedienung~0x4003 (Int)]
- (4006) HC3 level heating curve (6426) [WPR_HK3_Niveau_Heizkennlinie~0x4006 (SInt)]
- (4007) HC3 slope heating curve (6423) [WPR_HK3_Neigung_Heizkennlinie~0x4007 (SInt)]
- (400A) HC3 slope room hook-up (6425) [WPR_HK3_Neigung_Raumaufschaltung~0x400A (Int)]
- (400B) HC3 room temperature hook-up (6431) [WPR_HK3_Raumtemperaturaufschaltung~0x400B (Int)]
- (400E) HC3 max. flow temperature heating circuit (6419) [WPR_HK3_max_Vorlauftemperatur_HK~0x400E (SInt)]
- Cooling (19648) HIDDEN:("Separate cooling circuit available"="No" AND "Heating circuit with cooling function available"="No")
- (7100) Natural cooling circuit (6961) [WPR_SepNCKreis_NatCooling_Kreis~0x7100 (Int)]
- (7102) Natural cooling room temperature (6969) [WPR_SepNCKreis_NatCooling_Raumtemperatur~0x7101 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7103) Natural cooling min flow temperature (6963) [WPR_SepNCKreis_NatCooling_min_Vorlauftemperatur~0x7108 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7104) Natural cooling slope_room hook-up (6966) [WPR_SepNCKreis_NatCooling_Neigung_Raumaufschaltung~0x7104 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7110) Natural cooling level cooling curve (6967) [WPR_SepNCKreis_NatCooling_Niveau_Kuehlkennlinie~0x7105 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7111) Natural cooling slope cooling curve (6965) [WPR_SepNCKreis_NatCooling_Neigung_Kuehlkennlinie~0x7106 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- LON communication (19584)
- (7710) LON objects comm. module_LON_found (6511) [WPR_LONObjekte_Kommodul_LON_vorh~0x7710 (Int)]
- (7777) LON objects field BUS subscriber number (7032) [WPR_Teilnehmernummer~0x7777 (Byte)]
- (7779) LON objects fault manager (6507) [WPR_LONObjekte_Fehlermanager~0x7779 (Int)]
- (7798) LON objects system number (6505) [WPR_LONObjekte_AnlagenNr~0x7798 (Int)]
- (779C) LON objects field BUS receive heartbeat (6508) [WPR_LONObjekte_Feldbus_RecieveHeartbeat~0x779C (Int)]
- (77FF) LON objects field BUS time distribution (6510) [WPR_LONObjekte_Feldbus_Uhrzeit~0x77FF (Int)]
# Code 2 (19597)
- System def. (19688)
- (7000) System scheme (6150) [WPR_Anlagenkonfig_Anlagenschema~0x7000 (Int)]
- (7002) Average time outside temperature (6172) [WPR_Anlagenkonfig_Mittelzeit_aussentemperatur~0x7002 (SInt)]
- (7003) Hysteresis heating limit (6166) [WPR_Anlagenkonfig_Hysterese_Heizgrenze~0x7003 (SInt)]
- (7004) Hysteresis cooling limit (6167) [WPR_Anlagenkonfig_Hysterese_Kuehlgrenze~0x7004 (SInt)]
- (7005) Temp limit red. operating mode (6168) [WPR_Anlagenkonfig_Hysterese_TempGrenze_red_BA~0x7005 (SInt)]
- (7006) Frost protection temperature (6165) [WPR_Anlagenkonfig_Frostschutztemperatur~0x7006 (SInt)]
- (7007) Primary pump natural cooling (6173) [WPR_Anlagenkonfig_Primearpumpe_NatCooling~0x7007 (Int)]
- (7008) Swimming pool (6175) [WPR_Anlagenkonfig_Schwimmbad~0x7008 (Int)]
- (700A) Cascade (6169) [WPR_Anlagenkonfig_Kaskade~0x700A (Int)]
- (700B) Output lag heat pump (6170) [WPR_Anlagenkonfig_LeistungFolgeWP~0x700B (Int)]
- (7010) Ext. connection extension found (6154) [WPR_Anlagenkonfig_Ext_Anschlusserw_vorhanden~0x7010 (Int)]
- Ext. heat pump to DHW (6156) [WPR_Anlagenkonfig_Ext_WP_auf_WW~0x700E (Int)]
- (7011) Operating mode changeover to HC (6153) [WPR_Anlagenkonfig_BA_UmschaltungAufHK~0x7011 (Int)]
- (7012) Operating mode changeover effect (6152) [WPR_Anlagenkonfig_BA_Umschaltung_Wirkung~0x7012 (Int)]
- (7013) Operating mode changeover duration (6151) [WPR_Anlagenkonfig_BA_Umschaltung_Dauer~0x7013 (SInt)]
- (7014) External demand mixer OPEN (6157) [WPR_Anlagenkonfig_ExternAnf_MiAuf~0x7014 (Int)]
- (7015) External blocking mixer CLOSED (6158) [WPR_Anlagenkonfig_ExternSperren_MiZu~0x7015 (Int)]
- (7017) Vitocom 100 (6178) [WPR_Anlagenkonfig_Vitocom100~0x7017 (Int)]
- (7018) Value range 0-10V (6180) [WPR_Anlagenkonfig_Wertebereich0_10V~0x7018 (SInt)]
- (7019) Priority ext. demand (6174) [WPR_Anlagenkonfig_PrioExtAnf~0x7019 (Int)]
- (701A) External blocking effect HCP1 (6159) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP1~0x701A (Byte)]
- (701A) External blocking effect HCP2 (6160) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP2~0x701A (Byte)]
- (701A) External blocking effect HCP3 (6161) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP3~0x701A (Byte)]
- (701A) External blocking effect sec. pump (6163) [WPR_Anlagenkonfig_ExternSperrenWirkung_SekPumpe~0x701A (Byte)]
- (701A) External blocking effect CPP (6164) [WPR_Anlagenkonfig_ExternSperrenWirkung_SLP~0x701A (Byte)]
- Def. ext. extension (19565) HIDDEN:("Ext. extension H1 available"="No")
- (7011) Operating mode changeover to HC (6153) [WPR_Anlagenkonfig_BA_UmschaltungAufHK~0x7011 (Int)]
- (7013) Operating mode changeover duration (6151) [WPR_Anlagenkonfig_BA_Umschaltung_Dauer~0x7013 (SInt)]
- (7012) Operating mode changeover effect (6152) [WPR_Anlagenkonfig_BA_Umschaltung_Wirkung~0x7012 (Int)]
- (7014) External demand mixer OPEN (6157) [WPR_Anlagenkonfig_ExternAnf_MiAuf~0x7014 (Int)]
- (701A) External blocking effect HCP1 (6159) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP1~0x701A (Byte)]
- (701A) External blocking effect HCP2 (6160) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP2~0x701A (Byte)]
- (701A) External blocking effect HCP3 (6161) [WPR_Anlagenkonfig_ExternSperrenWirkung_HKP3~0x701A (Byte)]
- (701A) External blocking effect sec. pump (6163) [WPR_Anlagenkonfig_ExternSperrenWirkung_SekPumpe~0x701A (Byte)]
- (701A) External blocking effect CPP (6164) [WPR_Anlagenkonfig_ExternSperrenWirkung_SLP~0x701A (Byte)]
- (7015) External blocking mixer CLOSED (6158) [WPR_Anlagenkonfig_ExternSperren_MiZu~0x7015 (Int)]
- (7018) Value range 0-10V (6180) [WPR_Anlagenkonfig_Wertebereich0_10V~0x7018 (SInt)]
- (7010) Ext. connection extension found (6154) [WPR_Anlagenkonfig_Ext_Anschlusserw_vorhanden~0x7010 (Int)]
- Compressor 1 (19566)
- (5000) Compressor stage enabled (7082) [WPR_Verdichter1_VerdStufeFreigegeben~0x5000 (Byte)]
- (5001) Max flow temperature heat pump (7072) [WPR_Verdichter1_t_vorlauf_max_wp~0x5001 (SInt)]
- (5002) Min return temperature heat pump (7071) [WPR_Verdichter1_t_ruecklauf_min_wp~0x5002 (SInt)]
- (5004) Hysteresis temp primary ON (7048) [WPR_Verdichter1_hysterese_t_primaer_ein~0x5004 (SInt)]
- (5005) Heat pump runtime (7050) [WPR_Verdichter1_laufzeit_wp~0x5005 (SInt)]
- (5006) Dead time heat pump (7076) [WPR_Verdichter1_totzeit_wp~0x5006 (SInt)]
- (5008) Start delay (7044) [WPR_Verdichter1_anlaufverzoegerung~0x5008 (SInt)]
- (500A) Optimum runtime heat pump (7064) [WPR_Verdichter1_optimaleLaufzeit_WP~0x500A (SInt)]
- (500B) Cod1 defrost time heat pump (7042) [WPR_Verdichter1_abtauzeit_wp~0x500B (SInt)]
- (500C) Max. pause defrost start (7055) [WPR_Verdichter1_maxPause_Abtaustart~0x500C (SInt)]
- (500D) Block defrost heat pump (7069) [WPR_Verdichter1_sperre_abtauung_wp~0x500D (SInt)]
- (500E) Temperature differential evaporator heat pump (7045) [WPR_Verdichter1_differenz_verdampfer_wp~0x500E (SInt)]
- (500F) Defrost start temperature (7073) [WPR_Verdichter1_Temp_Abtaubeginn~0x500F (SInt)]
- (5010) Defrost stop temperature (7074) [WPR_Verdichter1_Temp_Abtauende~0x5010 (SInt)]
- (5015) Max. temperature primary ON heat pump (7052) [WPR_Verdichter1_max_t_primaer_ein_wp~0x5015 (SInt)]
- (5016) Min. temperature primary ON heat pump (7056) [WPR_Verdichter1_min_t_primaer_ein_wp~0x5016 (SInt)]
- (5030) Output compressor (7051) [WPR_Verdichter1_LeistungVerd~0x5030 (Int)]
- Compressor 2 (19567) HIDDEN:("HP stage 2 available"="No")
- Compressor2 compressor stage enabled (7117) [WPR_Verdichter2_VerdStufeFreigegeben~0x5100 (Byte)]
- Compressor2 max flow temperature heat pump (7108) [WPR_Verdichter2_t_vorlauf_max_wp~0x5101 (SInt)]
- Compressor2 min return temperature heat pump (7107) [WPR_Verdichter2_t_ruecklauf_min_wp~0x5102 (SInt)]
- Compressor2 hysteresis temp primary ON (7089) [WPR_Verdichter2_hysterese_t_primaer_ein~0x5104 (SInt)]
- Compressor2 runtime heat pump (7090) [WPR_Verdichter2_laufzeit_wp~0x5105 (SInt)]
- Compressor2 dead time heat pump (7112) [WPR_Verdichter2_totzeit_wp~0x5106 (SInt)]
- Compressor2 start delay (7085) [WPR_Verdichter2_anlaufverzoegerung~0x5108 (SInt)]
- Compressor2 optimum runtime heat pump (7101) [WPR_Verdichter2_optimaleLaufzeit_WP~0x510A (SInt)]
- Compressor2 defrost time heat pump (7083) [WPR_Verdichter2_abtauzeit_wp~0x510B (SInt)]
- Compressor2 max. pause defrost start (7094) [WPR_Verdichter2_maxPause_Abtaustart~0x510C (SInt)]
- Compressor2 block defrost heat pump (7105) [WPR_Verdichter2_sperre_abtauung_wp~0x510D (SInt)]
- Compressor2 temperature differential evaporator heat pump (7086) [WPR_Verdichter2_differenz_verdampfer_wp~0x510E (SInt)]
- Compressor2 temperature defrost start (7109) [WPR_Verdichter2_Temp_Abtaubeginn~0x510F (SInt)]
- Compressor2 temperature defrost end (7110) [WPR_Verdichter2_Temp_Abtauende~0x5110 (SInt)]
- Compressor2 max temp rise heat pump (7093) [WPR_Verdichter2_max_Thub_WP~0x5111 (SInt)]
- Compressor2 max. temperature primary ON heat pump (7092) [WPR_Verdichter2_max_t_primaer_ein_wp~0x5115 (SInt)]
- Compressor2 min. temperature primary ON heat pump (7095) [WPR_Verdichter2_min_t_primaer_ein_wp~0x5116 (SInt)]
- Compressor2 output compressor (7091) [WPR_Verdichter2_LeistungVerd~0x5130 (Int)]
- Ext. heat source (19568) HIDDEN:("External heat source available"="No")
- (7B00) Ext. HS ext. heat source (6211) [WPR_extWE_ExtWaermeerzeuger~0x7B00 (Int)]
- (7B01) Ext. HS priority (6222) [WPR_extWE_Vorrang~0x7B01 (Int)]
- (7B02) Ext. HS Tamb max (6217) [WPR_extWE_TambMax~0x7B02 (SInt)]
- (7B03) Ext. HS hysteresis ext. heat source (6212) [WPR_extWE_Hysterese_extWE~0x7B03 (SInt)]
- (7B04) Ext. HS dead time start ext. heat source (6221) [WPR_extWE_totzeit_einschalt_extWE~0x7B04 (SInt)]
- (7B05) Ext. HS temperature mixer (6219) [WPR_extWE_Temp_Mischer_extWE~0x7B05 (SInt)]
- (7B06) Ext. HS min. runtime (6215) [WPR_extWE_minLaufzeit~0x7B06 (SInt)]
- (7B07) Ext. HS runtime (6213) [WPR_extWE_Laufzeit~0x7B07 (SInt)]
- (7B08) Ext. HS runtime ext. heat source mixer (6214) [WPR_extWE_Laufzeit_extWEMischer~0x7B08 (SInt)]
- (7B09) Ext. HS active zone ext. heat source mixer (6218) [WPR_extWE_Tastband_extWEMischer~0x7B09 (SInt)]
- (7B0A) Ext. HS dead zone ext. heat source mixer (6220) [WPR_extWE_Totband_extWEMischer~0x7B0A (SInt)]
- (7B0B) Ext. HS level ext. heat source (6216) [WPR_extWE_Niveau_extWEMischer~0x7B0B (SInt)]
- DHW (19912)
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- (6005) Minimum temperature DHW cylinder (7141) [WPR_WW_Temp_min_WWspeicher~0x6005 (SInt)]
- (6006) Maximum temperature DHW cylinder (7140) [WPR_WW_Temp_max_WWspeicher~0x6006 (SInt)]
- (6007) DHW hysteresis (7133) [WPR_WW_Hysterese_Warmwasser~0x6007 (SInt)]
- (6008) Hysteresis DHW emergency (7134) [WPR_WW_Hysterese_Warmwasser_not~0x6008 (SInt)]
- (6009) Start optimisation (7132) [WPR_WW_Einschaltoptimierung~0x6009 (Int)]
- (600A) Stop optimisation (7129) [WPR_WW_Abschaltoptimierung~0x600A (Int)]
- (600C) Second set value (7139) [WPR_WW_Temp_Legionelle~0x600C (SInt)]
- (600E) Temperature sensor 2 (7148) [WPR_WW_ZweiterTempSensor~0x600E (Int)]
- (600F) Cylinder reaction force (7138) [WPR_WW_speicher_reaktion_force~0x600F (Int)]
- (6010) DHW priority (7145) [WPR_WW_Warmwasservorrang~0x6010 (Int)]
- (6011) Max. runtime (7136) [WPR_WW_max_Laufzeit~0x6011 (SInt)]
- (6012) Max. interruption (7137) [WPR_WW_max_Unterbrechung~0x6012 (SInt)]
- (6014) Elec. heater DHW cylinder (7131) [WPR_WW_EHeizWWSpeicher~0x6014 (Int)]
- Solar (19653) HIDDEN:("Internal solar circuit available"="No")
- (7A00) Solar thermal system (6976) [WPR_Solaranlage~0x7A00 (Int)]
- (7A01) Solar thermal system max. temperature solar (6983) [WPR_Solaranlage_TempMax_solar~0x7A01 (SInt)]
- (7A02) Solar thermal system hysteresis solar start (6979) [WPR_Solaranlage_Hysterese_SolarEin~0x7A02 (SInt)]
- (7A03) Solar thermal system hysteresis solar stop (6978) [WPR_Solaranlage_Hysterese_SolarAus~0x7A03 (SInt)]
- (7A04) Solar thermal system hysteresis pump kink (6977) [WPR_Solaranlage_Hysterese_Pumpenknick~0x7A04 (SInt)]
- (7A05) Solar thermal system runtime pump kick (6980) [WPR_Solaranlage_Laufzeit_Pumpenknick~0x7A05 (SInt)]
- (7A06) Solar thermal system dead time pump kick (6984) [WPR_Solaranlage_Totzeit_Pumpenknick~0x7A06 (SInt)]
- (7A07) Solar thermal system flow rate solar (6985) [WPR_Solaranlage_Volumenstrom_Solar~0x7A07 (SInt)]
- (7A08) Solar thermal system display solar yield (6982) [WPR_Solaranlage_Solarertrag_Enable~0x7A08 (Int)]
- (7A08) Solar thermal system check valve fault (6981) [WPR_Solaranlage_Rueckschlagklappenfehler~0x7A09 (Int)]
- Electric heater (19571) HIDDEN:("Electric heater available"="No")
- (7900) Installed (6203) [WPR_eHeizung_vorhanden~0x7900 (Int)]
- (7902) Electric heating mode (6196) [WPR_eHeizung_Heizbetrieb_mit_Elektro~0x7902 (Int)]
- (7904) Max. flow temperature electric (6201) [WPR_eHeizung_Temp_vorlauf_max_elektro~0x7904 (SInt)]
- (7905) Dead time start electric (6202) [WPR_eHeizung_totzeit_einschalt_elektro~0x7905 (SInt)]
- (7907) Max. stage electric (6198) [WPR_eHeizung_max_Stufe_Elektro~0x7907 (Int)]
- (7908) Blocking time elec. heating (6199) [WPR_eHeizung_sperrzeit_Eheiz~0x7908 (SInt)]
- (7909) Elec. heating stage block power failure (6195) [WPR_eHeizung_Eheizstufe_sperreStromausfall~0x7909 (Int)]
- Hydraulics (19572)
- (7300) Heat pump for drying buildings (6449) [WPR_Hydraulik_Waermepumpe_fuer_Bautrocknung~0x7300 (Int)]
- (7303) Screed program (6441) [WPR_Hydraulik_Estrichprogramm~0x7303 (Int)]
- (7304) Flow hysteresis (6442) [WPR_Hydraulik_hysterese_vorlauf~0x7304 (SInt)]
- (7309) Run-on compressor (6446) [WPR_Hydraulik_nachlauf_verdichter~0x7309 (SInt)]
- (730B) Run-on hydraulics circuit (6445) [WPR_Hydraulik_nachlauf_hydraulikkreis~0x730B (SInt)]
- (730C) Flow set temperature ext. demand (6448) [WPR_Hydraulik_VorlaufTempSoll_ExtAnf~0x730C (SInt)]
- Buffer cylinder (19573) HIDDEN:("Buffer cylinder available"="No")
- (7200) Buffer cylinder (6331) [WPR_HeizSpeicher_Heizspeicher~0x7200 (Int)]
- (7202) Set temperature buffer cylinder (6335) [WPR_HeizSpeicher_SollTemp_Heizspeicher~0x7202 (SInt)]
- (7203) Hysteresis buffer cylinder (6332) [WPR_HeizSpeicher_hysterese_heizspeicher~0x7203 (SInt)]
- (7204) Max. temperature buffer cylinder (6333) [WPR_HeizSpeicher_MaxTemp_Heizspeicher~0x7204 (SInt)]
- (7205) Stop optimisation HS (6330) [WPR_HeizSpeicher_Abschaltoptimierung_HS~0x7205 (Int)]
- (7206) Reaction force (6334) [WPR_HeizSpeicher_reaktion_force~0x7206 (Int)]
- Heating circuit HC1 (19575) HIDDEN:("HC1 available"="No")
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- (2003) HC1 remote control (6352) [WPR_HK1_Fernbedienung~0x2003 (Int)]
- (2005) HC1 room control (6370) [WPR_HK1_Raumregelung~0x2005 (Int)]
- (2006) HC1 level heating curve (6366) [WPR_HK1_Niveau_Heizkennlinie~0x2006 (SInt)]
- (2007) HC1 slope heating curve (6363) [WPR_HK1_Neigung_Heizkennlinie~0x2007 (SInt)]
- (2009) HC1 integral component room controller (6354) [WPR_HK1_Integralanteil_raumregler~0x2009 (SInt)]
- (200A) HC1 slope room hook-up (6365) [WPR_HK1_Neigung_Raumaufschaltung~0x200A (Int)]
- (200B) HC1 room temperature hook-up (6371) [WPR_HK1_Raumtemperaturaufschaltung~0x200B (Int)]
- (200D) HC1 max. flow corrections (6358) [WPR_HK1_max_Vorlaufkorrekturen~0x200D (SInt)]
- (200E) HC1 max. flow temperature heating circuit (6359) [WPR_HK1_max_Vorlauftemperatur_HK~0x200E (SInt)]
- (200F) HC1 min. flow temperature heating circuit (6360) [WPR_HK1_min_Vorlauftemperatur_HK~0x200F (SInt)]
- (2010) HC1 DHW with party function (6379) [WPR_HK1_WWbeiParty~0x2010 (Byte)]
- (2011) HC1 heating circuit reaction force (6353) [WPR_HK1_heizkreis_reaktion_force~0x2011 (Byte)]
- (2012) HC1 max. excess Troom (6357) [WPR_HK1_max_Ueberhoehung_TRaum~0x2012 (SInt)]
- (2014) HC1 level HC mixer (6367) [WPR_HK1_Niveau_HKMischer~0x2014 (SInt)]
- (2015) HC1 runtime HC mixer (6355) [WPR_HK1_Laufzeit_HKMischer~0x2015 (SInt)]
- (2018) HC1 active zone heating circuit mixer (6374) [WPR_HK1_Tastband_HKMischer~0x2018 (SInt)]
- (2019) HC1 dead zone heating circuit mixer (6376) [WPR_HK1_Totband_HKMischer~0x2019 (SInt)]
- Heating circuit HC2 (19577) HIDDEN:("HC2 available"="No")
- (3000) HC2 standard room temperature (6399) [WPR_HK2_Normaltemperatur~0x3000 (SInt)]
- (3001) HC2 reduced room temperature (6403) [WPR_HK2_Redtemperatur~0x3001 (SInt)]
- (3003) HC2 remote control (6382) [WPR_HK2_Fernbedienung~0x3003 (Int)]
- (3005) HC2 room control (6400) [WPR_HK2_Raumregelung~0x3005 (Int)]
- (3006) HC2 level heating curve (6396) [WPR_HK2_Niveau_Heizkennlinie~0x3006 (SInt)]
- (3007) HC2 slope heating curve (6393) [WPR_HK2_Neigung_Heizkennlinie~0x3007 (SInt)]
- (3009) HC2 integral component room controller (6384) [WPR_HK2_Integralanteil_raumregler~0x3009 (SInt)]
- (300A) HC2 slope room hook-up (6395) [WPR_HK2_Neigung_Raumaufschaltung~0x300A (Int)]
- (300B) HC2 room temperature hook-up (6401) [WPR_HK2_Raumtemperaturaufschaltung~0x300B (Int)]
- (300D) HC2 max. flow corrections (6388) [WPR_HK2_max_Vorlaufkorrekturen~0x300D (SInt)]
- (300E) HC2 max. flow temperature heating circuit (6389) [WPR_HK2_max_Vorlauftemperatur_HK~0x300E (SInt)]
- (300F) HC2 min. flow temperature heating circuit (6390) [WPR_HK2_min_Vorlauftemperatur_HK~0x300F (SInt)]
- (3010) HC2 DHW with party function (6409) [WPR_HK2_WWbeiParty~0x3010 (Byte)]
- (3011) HC2 heating circuit reaction force (6383) [WPR_HK2_heizkreis_reaktion_force~0x3011 (Byte)]
- (3012) HC2 max. excess Troom (6387) [WPR_HK2_max_Ueberhoehung_TRaum~0x3012 (SInt)]
- (3014) HC2 level HC mixer (6397) [WPR_HK2_Niveau_HKMischer~0x3014 (SInt)]
- (3015) HC2 runtime HC mixer (6385) [WPR_HK2_Laufzeit_HKMischer~0x3015 (SInt)]
- (3018) HC2 active zone heating circuit mixer (6404) [WPR_HK2_Tastband_HKMischer~0x3018 (SInt)]
- (3018) HC2 dead zone heating circuit mixer (6406) [WPR_HK2_Totband_HKMischer~0x3019 (SInt)]
- Heating circuit HC3 (19579) HIDDEN:("HC3 available"="No")
- (4000) HC3 standard room temperature (6429) [WPR_HK3_Normaltemperatur~0x4000 (SInt)]
- (4001) HC3 reduced room temperature (6433) [WPR_HK3_Redtemperatur~0x4001 (SInt)]
- (4003) HC3 remote control (6412) [WPR_HK3_Fernbedienung~0x4003 (Int)]
- (4005) HC3 room control (6430) [WPR_HK3_Raumregelung~0x4005 (Int)]
- (4006) HC3 level heating curve (6426) [WPR_HK3_Niveau_Heizkennlinie~0x4006 (SInt)]
- (4007) HC3 slope heating curve (6423) [WPR_HK3_Neigung_Heizkennlinie~0x4007 (SInt)]
- (4009) HC3 integral component room controller (6414) [WPR_HK3_Integralanteil_raumregler~0x4009 (SInt)]
- (400A) HC3 slope room hook-up (6425) [WPR_HK3_Neigung_Raumaufschaltung~0x400A (Int)]
- (400B) HC3 room temperature hook-up (6431) [WPR_HK3_Raumtemperaturaufschaltung~0x400B (Int)]
- (400D) HC3 max. flow corrections (6418) [WPR_HK3_max_Vorlaufkorrekturen~0x400D (SInt)]
- (400E) HC3 max. flow temperature heating circuit (6419) [WPR_HK3_max_Vorlauftemperatur_HK~0x400E (SInt)]
- (400F) HC3 min. flow temperature heating circuit (6420) [WPR_HK3_min_Vorlauftemperatur_HK~0x400F (SInt)]
- (4010) HC3 DHW with party function (6439) [WPR_HK3_WWbeiParty~0x4010 (Byte)]
- (4011) HC3 heating circuit reaction force (6413) [WPR_HK3_heizkreis_reaktion_force~0x4011 (Byte)]
- (4012) HC3 max. excess Troom (6417) [WPR_HK3_max_Ueberhoehung_TRaum~0x4012 (SInt)]
- (4014) HC3 level HC mixer (6427) [WPR_HK3_Niveau_HKMischer~0x4014 (SInt)]
- (4015) HC3 runtime HC mixer (6415) [WPR_HK3_Laufzeit_HKMischer~0x4015 (SInt)]
- (4018) HC3 active zone heating circuit mixer (6434) [WPR_HK3_Tastband_HKMischer~0x4018 (SInt)]
- (4019) HC3 dead zone heating circuit mixer (6436) [WPR_HK3_Totband_HKMischer~0x4019 (SInt)]
- Cooling (19581) HIDDEN:("Heating circuit with cooling function available"="No" AND "Separate cooling circuit available"="No")
- (7100) Natural cooling circuit (6961) [WPR_SepNCKreis_NatCooling_Kreis~0x7100 (Int)]
- (7102) Natural cooling room temperature (6969) [WPR_SepNCKreis_NatCooling_Raumtemperatur~0x7101 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7103) Natural cooling min flow temperature (6963) [WPR_SepNCKreis_NatCooling_min_Vorlauftemperatur~0x7108 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7104) Natural cooling slope_room hook-up (6966) [WPR_SepNCKreis_NatCooling_Neigung_Raumaufschaltung~0x7104 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7105) Natural cooling room control (6968) [WPR_SepNCKreis_NatCooling_Raumregelung~0x7103 (Int)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7106) Natural cooling room temp sens ranking (6970) [WPR_SepNCKreis_NatCooling_RaumTempSens_Rangierung~0x710D (Int)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7107) Natural cooling hysteresis room temperature (6959) [WPR_SepNCKreis_NatCooling_HystereseRaumtemperatur~0x7102 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7108) Natural cooling integral component room controller (6960) [WPR_SepNCKreis_NatCooling_Integralanteil_Raumregler~0x7107 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7109) Natural cooling with mixer (6964) [WPR_SepNCKreis_NatCooling_mit_Mischer~0x7109 (Int)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7110) Natural cooling level cooling curve (6967) [WPR_SepNCKreis_NatCooling_Niveau_Kuehlkennlinie~0x7105 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- (7111) Natural cooling slope cooling curve (6965) [WPR_SepNCKreis_NatCooling_Neigung_Kuehlkennlinie~0x7106 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- Communication (19691)
- (7710) LON objects comm. module_LON_found (6511) [WPR_LONObjekte_Kommodul_LON_vorh~0x7710 (Int)]
- (7777) LON objects field BUS subscriber number (7032) [WPR_Teilnehmernummer~0x7777 (Byte)]
- (7779) LON objects fault manager (6507) [WPR_LONObjekte_Fehlermanager~0x7779 (Int)]
- (7798) LON objects system number (6505) [WPR_LONObjekte_AnlagenNr~0x7798 (Int)]
- (779C) LON objects field BUS receive heartbeat (6508) [WPR_LONObjekte_Feldbus_RecieveHeartbeat~0x779C (Int)]
- (77FF) LON objects field BUS time distribution (6510) [WPR_LONObjekte_Feldbus_Uhrzeit~0x77FF (Int)]
# Plant diagnosis (19600)
- System (19654)
- Relay status M2 mixer CLOSED (6691) [WPR_RelaisStatus_M2_MischerZU~0x04B3 (Byte)]
- Mixer ext. heat source status (6524) [WPR_Mischer_ext_Waermerzeuger_Status~0x0603 (SInt)]
- Control ext. heat source (6596) [WPR_RelaisLaufzeiten_Ansteuerung_ExtWaermeerzeuger~0x058B (Int4)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Relay lag heat pump 1 at cascade module (6742) [WPR_RelaisZustand_FolgeWP1_Kaskade~0x0418 (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Relay lag heat pump 2 at cascade module (6743) [WPR_RelaisZustand_FolgeWP2_Kaskade~0x0419 (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Relay lag heat pump 3 at cascade module (6744) [WPR_RelaisZustand_FolgeWP3_Kaskade~0x041A (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- (7777) LON objects field BUS subscriber number (7032) [WPR_Teilnehmernummer~0x7777 (Byte)]
- Date and time HPCU (7033) [WPR_Uhrzeit~0x08E0 (Array)]
- System scheme (6181) [WPR_Anlagenschema~0x7000 (Byte)]
- Relay lag heat pump 4 at cascade module (6745) [WPR_RelaisZustand_FolgeWP4_Kaskade~0x041B (Byte)] HIDDEN:("(700A) Cascade"≠"1: Cascade via H1")
- Heat pump (19675)
- Secondary pump (6704) [WPR_RelaisStatus_SekPumpe1~0x0484 (Byte)]
- Relay status 3-way valve heating/DHW1 (6653) [WPR_RelaisStatus_3W_VentilHeizen_WW1~0x0494 (Byte)]
- Compressor 1 (6650) [WPR_RelaisLaufzeiten_Verdichter1~0x0580 (Int4)]
- Compressor 1 (6830) [WPR_RelaisZyklen_Verdichter1~0x0500 (Int4)]
- Elec. heating stage 1 (6673) [WPR_RelaisStatus_eHeizung_Stufe1~0x0488 (Byte)]
- Elec. heating stage 1 (6613) [WPR_RelaisLaufzeiten_eHeizung_Stufe1~0x0588 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Compressor 2 (6711) [WPR_RelaisStatus_Verdichter2~0x0481 (Byte)] HIDDEN:("Relay compressor 2"="NOT AVAILABLE")
- Primary source 2 (primary pump) (6700) [WPR_RelaisStatus_Primaerquelle2~0x0483 (Byte)] HIDDEN:("Relay primary source 2"="NOT AVAILABLE")
- Secondary pump 2 (6705) [WPR_RelaisStatus_SekPumpe2~0x0485 (Byte)] HIDDEN:("Relay secondary pump 2"="NOT AVAILABLE")
- Relay status 3-way valve heating/DHW2 (6654) [WPR_RelaisStatus_3W_VentilHeizen_WW2~0x0495 (Byte)] HIDDEN:("Relay valve heating/DHW 2"="NOT AVAILABLE")
- Compressor 2 (6651) [WPR_RelaisLaufzeiten_Verdichter2~0x0581 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE" OR "HP stage 2 available"="No""HP stage 2 available"="No")
- Compressor 2 (6831) [WPR_RelaisZyklen_Verdichter2~0x0501 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE""HP stage 2 available"="No")
- Elec. heating stage 2 (6674) [WPR_RelaisStatus_eHeizung_Stufe2~0x0489 (Byte)]
- Elec. heating stage 2 (6614) [WPR_RelaisLaufzeiten_eHeizung_Stufe2~0x0589 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Heating circuit 1 (19610) HIDDEN:("HC1 available"="No")
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- (2007) HC1 slope heating curve (6363) [WPR_HK1_Neigung_Heizkennlinie~0x2007 (SInt)]
- (2006) HC1 level heating curve (6366) [WPR_HK1_Niveau_Heizkennlinie~0x2006 (SInt)]
- Heating circuit pump HC1 (6686) [WPR_RelaisStatus_Heizkreispumpe_A1~0x048D (Byte)]
- Cooling, heating circuit 1 (19680) HIDDEN:("HC1 available"="No" OR "Heating circuit 1 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Heating circuit 2 (19611) HIDDEN:("HC2 available"="No")
- (3000) HC2 standard room temperature (6399) [WPR_HK2_Normaltemperatur~0x3000 (SInt)]
- (3001) HC2 reduced room temperature (6403) [WPR_HK2_Redtemperatur~0x3001 (SInt)]
- (3007) HC2 slope heating curve (6393) [WPR_HK2_Neigung_Heizkennlinie~0x3007 (SInt)]
- (3006) HC2 level heating curve (6396) [WPR_HK2_Niveau_Heizkennlinie~0x3006 (SInt)]
- Heating circuit pump HC2 (6687) [WPR_RelaisStatus_Heizkreispumpe_M2~0x048E (Byte)]
- Cooling, heating circuit 2 (19681) HIDDEN:("HC2 available"="No" OR "Heating circuit 2 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Heating circuit 3 (19612) HIDDEN:("HC3 available"="No")
- (4000) HC3 standard room temperature (6429) [WPR_HK3_Normaltemperatur~0x4000 (SInt)]
- (4001) HC3 reduced room temperature (6433) [WPR_HK3_Redtemperatur~0x4001 (SInt)]
- (4007) HC3 slope heating curve (6423) [WPR_HK3_Neigung_Heizkennlinie~0x4007 (SInt)]
- (4006) HC3 level heating curve (6426) [WPR_HK3_Niveau_Heizkennlinie~0x4006 (SInt)]
- Heating circuit pump HC3 (6688) [WPR_RelaisStatus_Heizkreispumpe_M3~0x048F (Byte)]
- Cooling, heating circuit 3 (19682) HIDDEN:("HC3 available"="No" OR "Heating circuit 3 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- DHW (19613) HIDDEN:("DHW cylinder available"="No")
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- Cylinder primary pump (6708) [WPR_RelaisStatus_Speicherladepumpe~0x0496 (Byte)]
- DHW circulation pump (6702) [WPR_RelaisStatus_Schaltausgang_Wtimer_ZP~0x0490 (Byte)]
- Cylinder reheating (6709) [WPR_RelaisStatus_Speichernachheizung~0x048A (Byte)]
- Cylinder reheating (6649) [WPR_RelaisLaufzeiten_Speichernachheizung~0x058A (Int4)]
- Solar (19655) HIDDEN:("Internal solar circuit available"="No" AND "Solar module SM1 available"="No" AND "Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Solar circuit pump (6646) [WPR_RelaisLaufzeiten_Solarpumpe~0x0593 (Int4)] HIDDEN:("Solar control unit internal available"="NOT AVAILABLE" OR "Internal solar circuit available"="No")
- Solar yield controller methods (6986) [WPR_Solarertrag_Reglermethoden~0x190A (SInt4)]
- Relay status solar circuit pump (6706) [WPR_RelaisStatus_Solarpumpe~0x0493 (Byte)] HIDDEN:("Internal solar circuit available"="No")
- Relay status solar circuit pump Vitosolic (6707) [WPR_RelaisStatus_SolarpumpeVitosolic~0x04A0 (Byte)] HIDDEN:("Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Heat pump EEV1 (19656) HIDDEN:("EEV1 available"="No")
- EEV1 MOP set pressure 1 (6987) [WPR_Solldruck1_EEV1_MOP~0x06C0 (Int)]
- Heat pump EEV2 (19657) HIDDEN:("EEV2 available"="No")
- EEV2 MOP set pressure 2 (6988) [WPR_Solldruck2_EEV2_MOP~0x06C1 (Int)]
- Runtime, compressor (19560)
- Load class 1 compressor 1 (6184) [WPR_Belastungsklasse1_Verdichter1~0x1620 (SInt)]
- Load class 2 compressor 1 (6186) [WPR_Belastungsklasse2_Verdichter1~0x1622 (SInt)]
- Load class 3 compressor 1 (6188) [WPR_Belastungsklasse3_Verdichter1~0x1624 (SInt)]
- Load class 4 compressor 1 (6190) [WPR_Belastungsklasse4_Verdichter1~0x1626 (SInt)]
- Load class 5 compressor 1 (6192) [WPR_Belastungsklasse5_Verdichter1~0x1628 (SInt)]
- Load class 1 compressor 2 (6185) [WPR_Belastungsklasse1_Verdichter2~0x1621 (SInt)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE")
- Load class 2 compressor 2 (6187) [WPR_Belastungsklasse2_Verdichter2~0x1623 (SInt)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE")
- Load class 3 compressor 2 (6189) [WPR_Belastungsklasse3_Verdichter2~0x1625 (SInt)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE")
- Load class 4 compressor 2 (6191) [WPR_Belastungsklasse4_Verdichter2~0x1627 (SInt)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE")
- Load class 5 compressor 2 (6193) [WPR_Belastungsklasse5_Verdichter2~0x1629 (SInt)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE")
# System diagnosis (19601)
- Device data (19629)
- Date and time HPCU (7033) [WPR_Uhrzeit~0x08E0 (Array)]
- System scheme (6181) [WPR_Anlagenschema~0x7000 (Byte)]
- Device version (CU-ID) (6238) [WPR_GeraetevariantenErkennung~0x00F9 (Byte)]
- Device class (6237) [WPR_Geraeteklasse~0x00F7 (Byte)]
- Hardware index of the device (6322) [WPR_Hardware_Index~0x00FA (Byte)]
- Software index of control unit (6973) [WPR_Software_Index~0x00FB (Byte)]
- Protocol version LDAP (6584) [WPR_Protokollversion_LDAP~0x00FC (Byte)]
- Protocol version RDAP (6585) [WPR_Protokollversion_RDAP~0x00FD (Byte)]
- Software version byte 1 (6974) [WPR_Software_Version_Byte1~0x00FE (Byte)]
- Software version byte 2 (6975) [WPR_Software_Version_Byte2~0x00FF (Byte)]
- Serial number control unit (7206) [HWHerstellNrRegelung~0xF000 (Byte)]
- Serial number boiler (7217) [HWHerstellNrKessel~0xF010 (Byte)]
- System overview (19660)
- Relay status 3-way valve heating/DHW1 (6653) [WPR_RelaisStatus_3W_VentilHeizen_WW1~0x0494 (Byte)]
- Elec. heating stage 1 (6673) [WPR_RelaisStatus_eHeizung_Stufe1~0x0488 (Byte)]
- Elec. heating stage 2 (6674) [WPR_RelaisStatus_eHeizung_Stufe2~0x0489 (Byte)]
- Secondary pump (6704) [WPR_RelaisStatus_SekPumpe1~0x0484 (Byte)]
- Relay status 3-way valve heating/DHW2 (6654) [WPR_RelaisStatus_3W_VentilHeizen_WW2~0x0495 (Byte)] HIDDEN:("Relay valve heating/DHW 2"="NOT AVAILABLE")
- Secondary pump 2 (6705) [WPR_RelaisStatus_SekPumpe2~0x0485 (Byte)] HIDDEN:("Relay secondary pump 2"="NOT AVAILABLE")
- Compressor 2 (6711) [WPR_RelaisStatus_Verdichter2~0x0481 (Byte)] HIDDEN:("Relay compressor 2"="NOT AVAILABLE")
- Primary source 2 (primary pump) (6700) [WPR_RelaisStatus_Primaerquelle2~0x0483 (Byte)] HIDDEN:("Relay primary source 2"="NOT AVAILABLE")
- Relay status control ext. heat source (6656) [WPR_RelaisStatus_Ansteuerung_ExtWaermeerzeuger~0x048B (Byte)]
- Relay status solar circuit pump (6706) [WPR_RelaisStatus_Solarpumpe~0x0493 (Byte)] HIDDEN:("Internal solar circuit available"="No")
- Relay status solar circuit pump Vitosolic (6707) [WPR_RelaisStatus_SolarpumpeVitosolic~0x04A0 (Byte)] HIDDEN:("Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Mixer ext. heat source status (6524) [WPR_Mischer_ext_Waermerzeuger_Status~0x0603 (SInt)]
- Cylinder reheating (6709) [WPR_RelaisStatus_Speichernachheizung~0x048A (Byte)]
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- Cylinder primary pump (6708) [WPR_RelaisStatus_Speicherladepumpe~0x0496 (Byte)]
- DHW circulation pump (6702) [WPR_RelaisStatus_Schaltausgang_Wtimer_ZP~0x0490 (Byte)]
- Relay status swimming pool valve (6703) [WPR_RelaisStatus_Schwimmbad_Ventil~0x0497 (Byte)] HIDDEN:("Swimming pool available"="No")
- Heating circuit pump HC1 (6686) [WPR_RelaisStatus_Heizkreispumpe_A1~0x048D (Byte)]
- Heating circuit pump HC2 (6687) [WPR_RelaisStatus_Heizkreispumpe_M2~0x048E (Byte)]
- Heating circuit pump HC3 (6688) [WPR_RelaisStatus_Heizkreispumpe_M3~0x048F (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status refrigerant circuit reversal (6689) [WPR_RelaisStatus_Kaeltekreis_Umkehr~0x049C (Byte)]
- Mixer ext. heat source set temperature (6523) [WPR_Mischer_ext_Waermerzeuger_SollTemp~0x0603 (SInt)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Mixer cooling circuit natural cooling set temperature (6535) [WPR_Mischer_Kuehlkreis_NatCooling_SollTemp~0x0602 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- Mixer separate natural cooling circuit set temperature (6539) [WPR_Mischer_sep_NatCooling_Kreis_SollTemp~0x0604 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
- Relay status lag heat pump 1 cascade (6682) [WPR_RelaisStatus_FolgeWP1_Kaskade~0x0498 (Byte)]
- Relay status lag heat pump 2 cascade (6683) [WPR_RelaisStatus_FolgeWP2_Kaskade~0x0499 (Byte)]
- Relay status lag heat pump 3 cascade (6684) [WPR_RelaisStatus_FolgeWP3_Kaskade~0x049A (Byte)]
- Relay status lag heat pump 4 cascade (6685) [WPR_RelaisStatus_FolgeWP4_Kaskade~0x049B (Byte)]
- Relay status mixer OPEN for relay test (6694) [WPR_RelaisStatus_MischerAUF_Relaistest~0x04BA (Byte)]
- LON objects (21254)
- External set flow temperature HC1 (4088) [nviHCC1_FlowSetpt~0xA403 (Byte)]
- Effective set room temperature HC1 (4174) [nvoHCC1_EffRoomSetpt~0xA406 (SInt)]
- Current operating mode HC1 (4175) [nvoHCC1_UnitState~0xA405 (Byte)]
- External set flow temperature HC2 (4091) [nviHCC2_FlowSetpt~0xA443 (Byte)]
- Effective set room temperature HC2 (4176) [nvoHCC2_EffRoomSetpt~0xA446 (SInt)]
- Current operating mode HC2 (4177) [nvoHCC2_UnitState~0xA445 (Byte)]
- External set flow temperature HC3 (4094) [nviHCC3_FlowSetpt~0xA483 (Byte)]
- Current operating mode HC3 (4179) [nvoHCC3_UnitState~0xA485 (Byte)]
- Effective set room temperature HC3 (4178) [nvoHCC3_EffRoomSetpt~0xA486 (SInt)]
- DHWC: Effective set DHW temperature (4170) [nvoDHWC_EffSetpt~0xA3C5 (SInt)]
- Set system/boiler output - value (4098) [nviProdCmd_CFDM_value~0xA380 (Byte)]
- Set flow temperature systems/boilers (4113) [nviSetpoint_CFDM~0xA383 (SInt)]
- Set flow temperature of heating circuit controllers (4084) [nviConsumerDmd_Temp_CFDM~0xA385 (Byte)]
- Actual system output - value (4195) [nvoPWRState_CFDM_value~0xA38F (Byte)]
- Actual system flow/boiler water temperature (4229) [nvoSupplyTemp_CFDM~0xA393 (SInt)]
- Active set system/boiler temperature (4173) [nvoEffectSetpt_CFDM~0xA391 (SInt)]
- Output reduction required by consumers (4193) [nvoProdState_AlphaTSA_CFDM~0xA395 (Byte)]
- Operating mode - boiler (4018) [nviApplicMode_BLR~0xA302 (Byte)]
- Set boiler water temperature (4112) [nviSetpoint_BLR~0xA303 (Byte)]
- Boiler water temperature (4228) [nvoSupplyTemp_BLR~0xA309 (Byte)]
- Effective set boiler water temperature (4171) [nvoEffectSetpt_BLR~0xA307 (Byte)]
- Operating mode system/boiler (4019) [nviApplicMode_CFDM~0xA382 (Byte)]
- Operating mode - with external default HC1 (4087) [nviHCC1_ApplicMode~0xA400 (Byte)]
- Operating mode - with external default HC2 (4090) [nviHCC2_ApplicMode~0xA440 (Byte)]
- Operating mode - with external default HC3 (4093) [nviHCC3_ApplicMode~0xA480 (Byte)]
- State machine (19617)
- Automatic status system ext. heat source (7155) [WPR_Zustandsautomat_extWaermeerzeuger~0x130E (Byte)]
- Automatic status system heating/cooling mode ext. heat pump 1 (7157) [WPR_Zustandsautomat_HeizKuehlbetrieb_extWaermepumpe1~0x130F (Byte)]
- Automatic status system heating/cooling mode ext. heat pump 2 (7158) [WPR_Zustandsautomat_HeizKuehlbetrieb_extWaermepumpe2~0x1310 (Byte)]
- Automatic status system heating/cooling mode ext. heat pump 3 (7159) [WPR_Zustandsautomat_HeizKuehlbetrieb_extWaermepumpe3~0x1311 (Byte)]
- Automatic status system internal status DHW cylinder (7165) [WPR_Zustandsautomat_InternerZustand_WW_Speicher~0x1305 (Byte)]
- Automatic status system LFDM SC1 (7166) [WPR_Zustandsautomat_LFDM_SC1~0x1314 (Byte)]
- Automatic status system LFDM SC2 (7167) [WPR_Zustandsautomat_LFDM_SC2~0x1315 (Byte)]
- Automatic status system LFDM SC3 (7168) [WPR_Zustandsautomat_LFDM_SC3~0x1316 (Byte)]
- Automatic status system LFDM SC4 (7169) [WPR_Zustandsautomat_LFDM_SC4~0x1317 (Byte)]
- Automatic status system PM SC1 (7170) [WPR_Zustandsautomat_PM_SC1~0x1306 (Byte)]
- Automatic status system PM SC2 (7171) [WPR_Zustandsautomat_PM_SC2~0x1307 (Byte)]
- Automatic status system PM SC3 (7172) [WPR_Zustandsautomat_PM_SC3~0x1308 (Byte)]
- Automatic status system PM SC4 (7173) [WPR_Zustandsautomat_PM_SC4~0x1309 (Byte)]
- Automatic status system HP1 (7175) [WPR_Zustandsautomat_WP1~0x130A (Byte)]
# Extended diagnosis (19623)
- DP gateway scenario all (22932)
- Compressor 2 (6711) [WPR_RelaisStatus_Verdichter2~0x0481 (Byte)] HIDDEN:("Relay compressor 2"="NOT AVAILABLE")
- Primary source 2 (primary pump) (6700) [WPR_RelaisStatus_Primaerquelle2~0x0483 (Byte)] HIDDEN:("Relay primary source 2"="NOT AVAILABLE")
- Elec. heating stage 1 (6673) [WPR_RelaisStatus_eHeizung_Stufe1~0x0488 (Byte)]
- Elec. heating stage 2 (6674) [WPR_RelaisStatus_eHeizung_Stufe2~0x0489 (Byte)]
- Secondary pump (6704) [WPR_RelaisStatus_SekPumpe1~0x0484 (Byte)]
- Secondary pump 2 (6705) [WPR_RelaisStatus_SekPumpe2~0x0485 (Byte)] HIDDEN:("Relay secondary pump 2"="NOT AVAILABLE")
- Cylinder reheating (6709) [WPR_RelaisStatus_Speichernachheizung~0x048A (Byte)]
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status control ext. heat source (6656) [WPR_RelaisStatus_Ansteuerung_ExtWaermeerzeuger~0x048B (Byte)]
- Heating circuit pump HC1 (6686) [WPR_RelaisStatus_Heizkreispumpe_A1~0x048D (Byte)]
- Heating circuit pump HC2 (6687) [WPR_RelaisStatus_Heizkreispumpe_M2~0x048E (Byte)]
- Heating circuit pump HC3 (6688) [WPR_RelaisStatus_Heizkreispumpe_M3~0x048F (Byte)]
- DHW circulation pump (6702) [WPR_RelaisStatus_Schaltausgang_Wtimer_ZP~0x0490 (Byte)]
- Relay status 3-way valve heating/DHW1 (6653) [WPR_RelaisStatus_3W_VentilHeizen_WW1~0x0494 (Byte)]
- Relay status 3-way valve heating/DHW2 (6654) [WPR_RelaisStatus_3W_VentilHeizen_WW2~0x0495 (Byte)] HIDDEN:("Relay valve heating/DHW 2"="NOT AVAILABLE")
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Relay status solar circuit pump (6706) [WPR_RelaisStatus_Solarpumpe~0x0493 (Byte)] HIDDEN:("Internal solar circuit available"="No")
- Relay status swimming pool valve (6703) [WPR_RelaisStatus_Schwimmbad_Ventil~0x0497 (Byte)] HIDDEN:("Swimming pool available"="No")
- Relay status solar circuit pump Vitosolic (6707) [WPR_RelaisStatus_SolarpumpeVitosolic~0x04A0 (Byte)] HIDDEN:("Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Cylinder primary pump (6708) [WPR_RelaisStatus_Speicherladepumpe~0x0496 (Byte)]
- Relay status M2 mixer CLOSED (6691) [WPR_RelaisStatus_M2_MischerZU~0x04B3 (Byte)]
- Ext. heat source mixer OPEN (6675) [WPR_RelaisStatus_extWaermeerzeuger_MischerAUF~0x04B8 (Byte)]
- Relay status mixer OPEN for relay test (6694) [WPR_RelaisStatus_MischerAUF_Relaistest~0x04BA (Byte)]
- 3-way valve heating/DHW1 (6593) [WPR_RelaisLaufzeiten_3W_VentilHeizen_WW1~0x0594 (Int4)]
- 3-way valve heating/DHW2 (6594) [WPR_RelaisLaufzeiten_3W_VentilHeizen_WW2~0x0595 (Int4)]
- Active cooling (6595) [WPR_RelaisLaufzeiten_ActiveCooling~0x058C (Int4)] HIDDEN:("Active cooling available"="NOT AVAILABLE")
- Control ext. heat source (6596) [WPR_RelaisLaufzeiten_Ansteuerung_ExtWaermeerzeuger~0x058B (Int4)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Elec. heating stage 1 (6613) [WPR_RelaisLaufzeiten_eHeizung_Stufe1~0x0588 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Elec. heating stage 2 (6614) [WPR_RelaisLaufzeiten_eHeizung_Stufe2~0x0589 (Int4)] HIDDEN:("Electric heater available"="NOT AVAILABLE")
- Heating circuit pump A1 (6626) [WPR_RelaisLaufzeiten_Heizkreispumpe_A1~0x058D (Int4)]
- HEATING CIRCUIT PUMP M2 (6627) [WPR_RelaisLaufzeiten_Heizkreispumpe_M2~0x058E (Int4)] HIDDEN:("HC2 available"="NOT AVAILABLE")
- Heating circuit pump M3 (6628) [WPR_RelaisLaufzeiten_Heizkreispumpe_M3~0x058F (Int4)] HIDDEN:("HC3 available"="NOT AVAILABLE" OR "HC3 available"="NOT AVAILABLE")
- Refrigerant circuit reversal (6629) [WPR_RelaisLaufzeiten_Kaeltekreis_Umkehr~0x059C (Int4)]
- Primary source 1 (fan or primary pump) (6639) [WPR_RelaisLaufzeiten_Primaerquelle1~0x0582 (Int4)]
- Primary source 2 (primary pump) (6640) [WPR_RelaisLaufzeiten_Primaerquelle2~0x0583 (Int4)]
- Switching output 7-day timer DHWCP (6642) [WPR_RelaisLaufzeiten_Schaltausgang_Wtimer_ZP~0x0590 (Int4)]
- Swimming pool_valve (6643) [WPR_RelaisLaufzeiten_Schwimmbad_Ventil~0x0597 (Int4)] HIDDEN:("Swimming pool available"="NOT AVAILABLE" OR "Swimming pool available"="NOT AVAILABLE")
- Secondary pump 1 (6644) [WPR_RelaisLaufzeiten_SekPumpe1~0x0584 (Int4)]
- Secondary pump 2 (6645) [WPR_RelaisLaufzeiten_SekPumpe2~0x0585 (Int4)]
- Solar circuit pump (6646) [WPR_RelaisLaufzeiten_Solarpumpe~0x0593 (Int4)] HIDDEN:("Solar control unit internal available"="NOT AVAILABLE" OR "Internal solar circuit available"="No")
- Cylinder primary pump (6648) [WPR_RelaisLaufzeiten_Speicherladepumpe~0x0596 (Int4)]
- Cylinder reheating (6649) [WPR_RelaisLaufzeiten_Speichernachheizung~0x058A (Int4)]
- Compressor 1 (6650) [WPR_RelaisLaufzeiten_Verdichter1~0x0580 (Int4)]
- Compressor 2 (6651) [WPR_RelaisLaufzeiten_Verdichter2~0x0581 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE" OR "HP stage 2 available"="No""HP stage 2 available"="No")
- Compressor 1 (6830) [WPR_RelaisZyklen_Verdichter1~0x0500 (Int4)]
- Compressor 2 (6831) [WPR_RelaisZyklen_Verdichter2~0x0501 (Int4)] HIDDEN:("Two-stage HP available"="NOT AVAILABLE""HP stage 2 available"="No")
- Ext. heat source mixer OPEN (6615) [WPR_RelaisLaufzeiten_extWaermeerzeuger_MischerAUF~0x05B8 (Int4)]
- Coolant buffer pump (6616) [WPR_RelaisLaufzeiten_extWaermeerzeuger_MischerZU~0x05B9 (Int4)]
- Natural cooling via HC mixer CLOSED (6638) [WPR_RelaisLaufzeiten_NCueberHK_MischerZU~0x05B7 (Int4)]
- Mixer OPEN for relay test (6634) [WPR_RelaisLaufzeiten_MischerAUF_Relaistest~0x05BA (Int4)]
- Mixer CLOSED for relay test (6635) [WPR_RelaisLaufzeiten_MischerZU_Relaistest~0x05BB (Int4)]
- Mixer ext. heat source set temperature (6523) [WPR_Mischer_ext_Waermerzeuger_SollTemp~0x0603 (SInt)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Mixer ext. heat source status (6524) [WPR_Mischer_ext_Waermerzeuger_Status~0x0603 (SInt)]
- Elec. heating stage (6200) [WPR_eHeizung_Stufe~0x1909 (Byte)]
- DP gateway scenario IVES (22934)
- Compressor 1 (6650) [WPR_RelaisLaufzeiten_Verdichter1~0x0580 (Int4)]
- (6006) Maximum temperature DHW cylinder (7140) [WPR_WW_Temp_max_WWspeicher~0x6006 (SInt)]
- (6007) DHW hysteresis (7133) [WPR_WW_Hysterese_Warmwasser~0x6007 (SInt)]
- (7304) Flow hysteresis (6442) [WPR_Hydraulik_hysterese_vorlauf~0x7304 (SInt)]
- (200E) HC1 max. flow temperature heating circuit (6359) [WPR_HK1_max_Vorlauftemperatur_HK~0x200E (SInt)]
- (300E) HC2 max. flow temperature heating circuit (6389) [WPR_HK2_max_Vorlauftemperatur_HK~0x300E (SInt)]
- (400E) HC3 max. flow temperature heating circuit (6419) [WPR_HK3_max_Vorlauftemperatur_HK~0x400E (SInt)]
- (7203) Hysteresis buffer cylinder (6332) [WPR_HeizSpeicher_hysterese_heizspeicher~0x7203 (SInt)]
- (7204) Max. temperature buffer cylinder (6333) [WPR_HeizSpeicher_MaxTemp_Heizspeicher~0x7204 (SInt)]
- (7200) Buffer cylinder (6331) [WPR_HeizSpeicher_Heizspeicher~0x7200 (Int)]
- (6008) Hysteresis DHW emergency (7134) [WPR_WW_Hysterese_Warmwasser_not~0x6008 (SInt)]
- (7B02) Ext. HS Tamb max (6217) [WPR_extWE_TambMax~0x7B02 (SInt)]
- DP gateway scenario 2 (22938)
- Solar yield controller methods (6986) [WPR_Solarertrag_Reglermethoden~0x190A (SInt4)]
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- Buffer cylinder (19614) HIDDEN:("Buffer cylinder available"="No")
- Automatic status system internal status HW buffer cylinder (7163) [WPR_Zustandsautomat_InternerZustand_HW_Pufferspeicher~0x1304 (Byte)]
- Inputs, HP (19587)
- Power-OFF (6879) [WPR_SchalterStatus_EVU_Sperre~0x0383 (Byte)]
- Phase monitor (6888) [WPR_SchalterStatus_Phasenwaechter~0x0382 (Byte)]
- Primary source 1 (brine pressure) (6889) [WPR_SchalterStatus_Primaerquelle1_Soledruck~0x0385 (Byte)]
- Safety HP compressor 1 (6893) [WPR_SchalterStatus_Sicherheitshochdruck_Verdichter1~0x0387 (Byte)]
- Low pressure compressor 1 (6886) [WPR_SchalterStatus_Niederdruck_Verdichter1~0x038B (Byte)]
- Control high pressure compressor 1 (6891) [WPR_SchalterStatus_Regelhochdruck_Verdichter1~0x0389 (Byte)]
- Motor 1 (6884) [WPR_SchalterStatus_Motor1~0x038D (Byte)]
- EEV1 DI enable EEV control (6871) [WPR_SchalterStatus_EEV1_DIFreigabeEEVRegelung~0x0399 (Byte)]
- Primary source 2 (6890) [WPR_SchalterStatus_Primaerquelle2~0x0386 (Byte)]
- Safety HP compressor 2 (6894) [WPR_SchalterStatus_Sicherheitshochdruck_Verdichter2~0x0388 (Byte)]
- Low pressure compressor 2 (6887) [WPR_SchalterStatus_Niederdruck_Verdichter2~0x038C (Byte)]
- Control high pressure compressor 2 (6892) [WPR_SchalterStatus_Regelhochdruck_Verdichter2~0x038A (Byte)]
- Motor 2 (6885) [WPR_SchalterStatus_Motor2~0x038E (Byte)]
- EEV2 DI enable EEV control (6873) [WPR_SchalterStatus_EEV2_DIFreigabeEEVRegelung~0x039A (Byte)]
- Compressor (6898) [WPR_SchalterStatus_Verdichter~0x0396 (Byte)]
- Power supply compressor (6878) [WPR_SchalterStatus_eNetz_Verdichter~0x0394 (Byte)]
- Refrigerant circuit (6883) [WPR_SchalterStatus_Kaeltekreis~0x0393 (Byte)]
- Safety chain (6895) [WPR_SchalterStatus_Sicherheitskette~0x0395 (Byte)]
- Flow sensor (6897) [WPR_SchalterStatus_Stroemungssensor~0x0381 (Byte)]
- Switch power-OFF elec. heater rod (6850) [WPR_Schalter_EVU_Sperre_eHeizstab~0x0304 (Byte)]
- Elec. heater rod 1 high limit safety cut-out (6875) [WPR_SchalterStatus_Eheizstab1_Sicherheitstemperaturbegrenzer~0x038F (Byte)]
- Elec. heater rod 2 high limit safety cut-out (6876) [WPR_SchalterStatus_Eheizstab2_Sicherheitstemperaturbegrenzer~0x0390 (Byte)]
- Elec. heater rod 3 high limit safety cut-out (6877) [WPR_SchalterStatus_Eheizstab3_Sicherheitstemperaturbegrenzer~0x0391 (Byte)]
- Correction, HP (19585)
- Correction value flow temperature prim (6494) [WPR_Korrekturwert_Vorlauftemperatur_Prim~0x0203 (SByte)]
- Correction value flow temperature sec (6495) [WPR_Korrekturwert_Vorlauftemperatur_Sek~0x0205 (SByte)]
- Correction value return temp prim (6483) [WPR_Korrekturwert_Ruecklauftemp_Prim~0x0204 (SByte)]
- Correction value return temperature sec1 (6484) [WPR_Korrekturwert_Ruecklauftemperatur_Sek1~0x0206 (SByte)]
- Correction value return temperature sec2 (6485) [WPR_Korrekturwert_Ruecklauftemperatur_Sek2~0x0207 (SByte)]
- Correction value hot gas temperature 1 (6471) [WPR_Korrekturwert_Heissgastemperatur1~0x0208 (SByte)]
- Correction value hot gas temperature 2 (6472) [WPR_Korrekturwert_Heissgastemperatur2~0x0209 (SByte)]
- Correction value EVI suction gas temperature EEV1 (6465) [WPR_Korrekturwert_EVI_Sauggastemperatur_EEV1~0x0225 (SByte)]
- Correction value EVI suction gas temperature EEV2 (6466) [WPR_Korrekturwert_EVI_Sauggastemperatur_EEV2~0x0226 (SByte)]
- Correction value hot gas temperature EEV1 (6469) [WPR_Korrekturwert_Heissgastemperatur_EEV1~0x0221 (SByte)]
- Correction value hot gas temperature EEV2 (6470) [WPR_Korrekturwert_Heissgastemperatur_EEV2~0x0222 (SByte)]
- Correction value suction gas temperature EEV1 (6486) [WPR_Korrekturwert_Sauggastemperatur_EEV1~0x021F (SByte)]
- Correction value suction gas temperature EEV2 (6487) [WPR_Korrekturwert_Sauggastemperatur_EEV2~0x0220 (SByte)]
- Correction value LPG temperature EEV1 (6467) [WPR_Korrekturwert_Fluessiggastemperatur_EEV1~0x0223 (SByte)]
- Correction value LPG temperature EEV2 (6468) [WPR_Korrekturwert_Fluessiggastemperatur_EEV2~0x0224 (SByte)]
- Correction value evaporator temperature (6489) [WPR_Korrekturwert_Verdampfertemperatur~0x0202 (SByte)]
- Correction, system (19586)
- Correction value outside temperature (6464) [WPR_Korrekturwert_Aussentemperatur~0x0201 (SByte)]
- Correction value medium temperature ext. heat source (6475) [WPR_Korrekturwert_Mediumtemperatur_extWaermeerzeuger~0x020C (SByte)]
- Correction value collector temperature solar (6474) [WPR_Korrekturwert_Kollektortemperatur_Solar~0x0211 (SByte)]
- Correction value cylinder temperature solar module Vitosolic (6488) [WPR_Korrekturwert_Speichertemperatur_SolarmodulVitosolic~0x0213 (SByte)]
- Correction value DHW temperature bottom (6499) [WPR_Korrekturwert_WW_TemperaturUnten~0x020E (SByte)]
- Correction value DHW temperature centre (6497) [WPR_Korrekturwert_WW_TemperaturMitte~0x020F (SByte)]
- Correction value DHW temperature top (6498) [WPR_Korrekturwert_WW_TemperaturOben~0x020D (SByte)]
- Correction value DHW temperature output (6496) [WPR_Korrekturwert_WW_TemperaturAusgang~0x0210 (SByte)]
- Correction value heating water buffer cylinder temperature (6473) [WPR_Korrekturwert_HeizwasserPufferspeichertemperatur~0x020B (SByte)]
- Correction value system flow temperature (6463) [WPR_Korrekturwert_Anlagenvorlauftemperatur~0x020A (SByte)]
- Correction value room temperature heating circuit A1 (Vitotrol) (6479) [WPR_Korrekturwert_Raumtemperatur_HK_A1_Vitotrol~0x0216 (SByte)]
- Correction value room temperature heating circuit M2 (Vitotrol) (6480) [WPR_Korrekturwert_Raumtemperatur_HK_M2_Vitotrol~0x0217 (SByte)]
- Correction value flow temperature heating circuit M2 (6490) [WPR_Korrekturwert_Vorlauftemperatur_HK_M2~0x0214 (SByte)]
- Correction value room temperature heating circuit M3 (Vitotrol) (6481) [WPR_Korrekturwert_Raumtemperatur_HK_M3_Vitotrol~0x0218 (SByte)]
- Correction value flow temperature heating circuit M3 (6491) [WPR_Korrekturwert_Vorlauftemperatur_HK_M3~0x0215 (SByte)]
- Correction value room temperature natural cooling (6482) [WPR_Korrekturwert_Raumtemperatur_NatCooling~0x021B (SByte)]
- Correction value flow temperature natural cooling circuit (6493) [WPR_Korrekturwert_Vorlauftemperatur_NatCoolingKreis~0x0219 (SByte)]
- Correction value flow temperature natural cooling heating circuit xx (6492) [WPR_Korrekturwert_Vorlauftemperatur_NatCoolingHKxx~0x021A (SByte)]
# Trends (19595)
- General (19618)
- Mixer ext. heat source set temperature (6523) [WPR_Mischer_ext_Waermerzeuger_SollTemp~0x0603 (SInt)] HIDDEN:("Ext. heat source available"="NOT AVAILABLE")
- Relay status swimming pool valve (6703) [WPR_RelaisStatus_Schwimmbad_Ventil~0x0497 (Byte)] HIDDEN:("Swimming pool available"="No")
- Relay status mixer OPEN for relay test (6694) [WPR_RelaisStatus_MischerAUF_Relaistest~0x04BA (Byte)]
- Heating circuit 1 (19662) HIDDEN:("HC1 available"="No")
- (2000) HC1 standard room temperature (6369) [WPR_HK1_Normaltemperatur~0x2000 (SInt)]
- (2001) HC1 reduced room temperature (6373) [WPR_HK1_Redtemperatur~0x2001 (SInt)]
- Heating circuit pump HC1 (6686) [WPR_RelaisStatus_Heizkreispumpe_A1~0x048D (Byte)]
- Heating circuit 2 (19663) HIDDEN:("HC2 available"="No")
- (3000) HC2 standard room temperature (6399) [WPR_HK2_Normaltemperatur~0x3000 (SInt)]
- (3001) HC2 reduced room temperature (6403) [WPR_HK2_Redtemperatur~0x3001 (SInt)]
- Heating circuit pump HC2 (6687) [WPR_RelaisStatus_Heizkreispumpe_M2~0x048E (Byte)]
- Mixer heating circuit M2_temp command (6528) [WPR_Mischer_HK_M2_TempBefehl~0x0600 (SInt)] HIDDEN:("HC2 available"="NOT AVAILABLE")
- Heating circuit 3 (19664) HIDDEN:("HC3 available"="No")
- (4000) HC3 standard room temperature (6429) [WPR_HK3_Normaltemperatur~0x4000 (SInt)]
- (4001) HC3 reduced room temperature (6433) [WPR_HK3_Redtemperatur~0x4001 (SInt)]
- Heating circuit pump HC3 (6688) [WPR_RelaisStatus_Heizkreispumpe_M3~0x048F (Byte)]
- Mixer heating circuit M3 set temperature (6531) [WPR_Mischer_HK_M3_SollTemp~0x0601 (SInt)] HIDDEN:("HC3 available"="NOT AVAILABLE")
- DHW (19661) HIDDEN:("DHW cylinder available"="No")
- (6000) Select temperature (7142) [WPR_WW_Temp_soll~0x6000 (SInt)]
- DHW circulation pump (6702) [WPR_RelaisStatus_Schaltausgang_Wtimer_ZP~0x0490 (Byte)]
- Cylinder primary pump (6708) [WPR_RelaisStatus_Speicherladepumpe~0x0496 (Byte)]
- Cylinder reheating (6709) [WPR_RelaisStatus_Speichernachheizung~0x048A (Byte)]
- Solar (19619) HIDDEN:("Internal solar circuit available"="No" AND "Solar module SM1 available"="No" AND "Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Relay status solar circuit pump (6706) [WPR_RelaisStatus_Solarpumpe~0x0493 (Byte)] HIDDEN:("Internal solar circuit available"="No")
- Relay status solar circuit pump Vitosolic (6707) [WPR_RelaisStatus_SolarpumpeVitosolic~0x04A0 (Byte)] HIDDEN:("Vitosolic 100 available"="No" AND "Vitosolic 200 available"="No")
- Cooling, heating circuit 1 (20129) HIDDEN:("HC1 available"="No" OR "Heating circuit 1 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Cooling, heating circuit 2 (20130) HIDDEN:("HC2 available"="No" OR "Heating circuit 2 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Cooling, heating circuit 3 (20131) HIDDEN:("HC3 available"="No" OR "Heating circuit 3 cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Mixer cooling circuit natural cooling status (6536) [WPR_Mischer_Kuehlkreis_NatCooling_Status~0x0602 (SInt)] HIDDEN:("Mixer cooling"="NOT AVAILABLE")
- Cooling (19918) HIDDEN:("Separate cooling circuit available"="No" AND "Heating circuit with cooling function available"="No")
- Active cooling (6655) [WPR_RelaisStatus_ActiveCooling~0x048C (Byte)]
- Relay status natural cooling control (6696) [WPR_RelaisStatus_NatCooling_Ansteuerung~0x0492 (Byte)]
- Ext. heat source mixer OPEN (6675) [WPR_RelaisStatus_extWaermeerzeuger_MischerAUF~0x04B8 (Byte)]
- Mixer cooling circuit natural cooling set temperature (6535) [WPR_Mischer_Kuehlkreis_NatCooling_SollTemp~0x0602 (SInt)] HIDDEN:("Cooling available"="NOT AVAILABLE")
InsideViessmannVitosoft %